{"text_format":"3","workbook":"xls","n_sheets":1,"sheets":["Sheet1"],"read":"whole","date_system":"1900","formulas":"cached_only"}

{"sheet":"Sheet1","index":0,"n_rows":13,"n_cols":12,"rows_kept":13,"merged":[[0,0,0,11]],"flags":["formulas_cached_only"]}
["2022-2023年度压力表产品及其企业名单"]
["序号","被抽查市场主体名称","被抽样市场主体地址","生产单位名称（标称）","生产单位地址（标称）","产品名称","商标（标称）","规格型号","生产日期/批号","综合判定","不合格项目","备注"]
[1,"广州轩琦仪器仪表有限公司","广州市番禺区南村镇坑头村南园大道3号103","广州轩琦仪器仪表有限公司","广州市番禺区南村镇坑头村南园大道3号103","全不锈钢压力表","图文商标","YT-1","2023-01-01","未发现不合格","----","----"]
[2,"广州轩琦仪器仪表有限公司","广州市番禺区南村镇坑头村南园大道3号103","广州轩琦仪器仪表有限公司","广州市番禺区南村镇坑头村南园大道3号103","全不锈钢压力表","图文商标","YT-2.5","2023-01-01","未发现不合格","----","----"]
[3,"广州市通铭自动化仪表有限公司","广州市白云区石井街潭村第二经济合作社大基围1巷18号","广州市通铭自动化仪表有限公司","广州市白云区石井街潭村第二经济合作社大基围1巷18号","压力表","图文商标","Y-100 2.5MPa","2021-10-06","未发现不合格","----","----"]
[4,"广州市通铭自动化仪表有限公司","广州市白云区石井街潭村第二经济合作社大基围1巷18号","广州市通铭自动化仪表有限公司","广州市白云区石井街潭村第二经济合作社大基围1巷18号","压力表","图文商标","Y-100 1.0MPa","2023-02-02","未发现不合格","----","----"]
[5,"广州市越秀区荀午仪器商行","广州市越秀区惠福西路109号120","红旗仪表有限公司","浙江省乐清市柳市镇七里港第二工业区","压力表","红旗","Y-100 （0～4）MPa","未标注","不合格","超压","----"]
[6,"广州市越秀区荀午仪器商行","广州市越秀区惠福西路109号120","红旗仪表有限公司","浙江省乐清市柳市镇七里港第二工业区","压力表","红旗","Y-100 （0～6）MPa","未标注","未发现不合格","----","----"]
[7,"广州市天河区天园铭超五金配件经营部","广州市天河区文华路21号首层（仅限办公用途）","杭州兴盛仪表厂","浙江省杭州市桐庐县江南镇窄溪东路108号17幢","不锈钢压力表","未标注","2.5MPa Y系列压力表","2022-10-30","未发现不合格","----","复检合格"]
[8,"广州市天河区天园铭超五金配件经营部","广州市天河区文华路21号首层（仅限办公用途）","杭州兴盛仪表厂","浙江省杭州市桐庐县江南镇窄溪东路108号17幢","不锈钢压力表","未标注","1MPa 不锈钢压力表","2022-09-05","未发现不合格","----","----"]
[9,"广州市天河区天园甬江阀门经营部","广州市天河区文华路瑞华一街39号","杭州富阳宏盛仪表厂","杭州富阳区银湖街道高富路2号","Y系列压力表","未标注","1MPa","2022-04-01","未发现不合格","----","----"]
[10,"广州市天河区天园甬江阀门经营部","广州市天河区文华路瑞华一街39号","杭州富阳宏盛仪表厂","杭州富阳区银湖街道高富路2号","Y系列压力表","未标注","2.5MPa","2022-12-01","未发现不合格","----","----"]
[" "]