{"text_format":"3","workbook":"xlsx","n_sheets":1,"sheets":["Sheet1"],"read":"whole","date_system":"1900"}

{"sheet":"Sheet1","index":0,"n_rows":142,"n_cols":12,"rows_kept":142,"merged":[[0,0,0,11]]}
["2023年广州市配装眼镜产品质量监督抽查结果"]
["序号","被抽查市场主体名称","被抽样市场主体地址","生产单位名称\n（标称）","生产单位地址（标称）","产品名称","商标\n（标称）","规格型号","生产日期/批号","综合判定","不合格项目","备注"]
[1,"广州市尚廊眼镜科技有限公司","广州市天河区骏景路稚乐街14号自编4号铺","广州市尚廊眼镜科技有限公司","广州市天河区骏景路稚乐街14号自编4号铺","近视眼镜","----","单光：R：-3.50 Ds   -0.75 Dc×80 °   \n      L：-2.50 Ds   -1.50 Dc×85 °   \n     PD：69 mm","2023-04-25","未发现不合格","----"]
[2,"广州市天河区东圃贵荣大众眼镜店","广州市天河区中山大道268号二楼S160铺","广州市天河区东圃贵荣大众眼镜店","广州市天河区中山大道268号二楼S160铺","近视眼镜","----","单光：R：-3.00 Ds   -1.25 Dc×40 °   \n     L：-3.00 Ds   -1.50 Dc×32 °   \n    PD：70 mm","2023-4-26","未发现不合格","----"]
[3,"广州市一叁眼镜有限公司","广州市天河区龙洞环村南街6号之十五117铺","广州市一叁眼镜有限公司","广州市天河区龙洞环村南街6号之十五117铺","近视眼镜","----","单光：R：-3.00 Ds   -1.25 Dc×10 °   \n      L：-2.00 Ds   -1.75 Dc×5 °    \n     PD：69 mm","2023-4-28","未发现不合格","----"]
[4,"广州高视医疗器械有限公司华工店","广州市天河区五山路381号北区后勤生活服务点2号铺","广州高视医疗器械有限公司华工店","广州市天河区五山路381号北区后勤生活服务点2号铺","近视眼镜","----"," 单光：R：-3.50 Ds   -1.00 Dc×10 °   \n       L：-5.00 Ds \n      PD：71 mm","2023-5-10","未发现不合格","----"]
[5,"广州明廊眼镜技术有限公司马场路分店","广州市天河区马场路36号太阳新天地（部位：自编B114房）","广州明廊眼镜技术有限公司马场路分店","广州市天河区马场路36号太阳新天地（部位：自编B114房）","近视眼镜","----"," 单光：R：-4.00 Ds   -0.50 Dc×10 °   \n     RPD：33 mm\n       L：-4.00 Ds                     \n     LPD：33 mm","2023-5-17","未发现不合格","----"]
[6,"广州海珠创视能眼科门诊部有限公司","广州市海珠区江南大道中215号之2","广州海珠创视能眼科门诊部有限公司","广州市海珠区江南大道中215号之2","近视眼镜","----","单光：R：-4.50 Ds \n     L：-3.00 Ds   -1.00 Dc×95 °   \n    PD：70 mm","2023-4-26","未发现不合格","----"]
[7,"广州市白云区大源零匠视光眼镜店","广州市白云区大源街黄庄南路50号101房（自主申报）","广州市白云区大源零匠视光眼镜店","广州市白云区大源街黄庄南路50号101房（自主申报）","近视眼镜","----","单光：R：-4.00 Ds   -1.00 Dc×15 °   \n    RPD：33 mm\n      L：-5.00 Ds                     \n    LPD：33 mm","2023-4-26","未发现不合格","----"]
[8,"广东回元堂药业连锁有限公司凰岗分店","广州市白云区京溪路222号101铺","广东回元堂药业连锁有限公司凰岗分店","广州市白云区京溪路222号101铺","近视眼镜","----"," 单光：R：-4.50 Ds\n       L：-2.50 Ds   -2.00 Dc×150 °   \n      PD：70 mm","2023-4-25","未发现不合格","----"]
[9,"广州市明鑫眼镜有限公司","广州市白云区钟落潭镇九佛西路280号负一层107号商铺","广州市明鑫眼镜有限公司","广州市白云区钟落潭镇九佛西路280号负一层107号商铺","近视眼镜","----","单光：R：-3.75 Ds   -1.00 Dc×80 °   \n      L：-4.50 Ds \n     PD：68 mm","2023-4-24","未发现不合格","----"]
[10,"广东省飞达眼镜有限公司","广州市天河区粤垦路191号","广东省飞达眼镜有限公司","广州市天河区粤垦路191号","近视眼镜","----"," 单光：R：-4.50 Ds\n       L：-2.50 Ds   -2.00 Dc×150 °   \n      PD：70 mm","2023-4-27","未发现不合格","----"]
[11,"广州市铭悦视光眼镜有限公司","广州市白云区钟落潭镇广从七路1002号庆达广场二层207、208","广州市铭悦视光眼镜有限公司","广州市白云区钟落潭镇广从七路1002号庆达广场二层207、208","近视眼镜","----","单光：R：-4.50 Ds\n      L：-4.00 Ds   -1.00 Dc×180 °   \n     PD：70 mm","2023-4-24","未发现不合格","----"]
[12,"广州榫木贸易有限公司","广州市海珠区江南大道中168号905室","广州榫木贸易有限公司","广州市海珠区江南大道中168号905室","近视眼镜","----","单光：R：-4.50 Ds\n      L：-3.00 Ds   -1.00 Dc×95 °   \n     PD：70 mm","2023-4-26","未发现不合格","----"]
[13,"广州智森商业有限公司","广州市天河区黄埔大道西601号暨南大学真如苑B3栋二层之三号","广州智森商业有限公司","广州市天河区黄埔大道西601号暨南大学真如苑B3栋二层之三号","近视眼镜","----","单光：R：-3.50 Ds   -1.00 Dc×10 °   \n      L：-5.00 Ds \n     PD：71 mm","2023-5-10","未发现不合格","----"]
[14,"广州尚品眼镜有限公司","广州市天河区燕岭路95号102铺（不可作厂房使用）","广州尚品眼镜有限公司","广州市天河区燕岭路95号102铺（不可作厂房使用）","近视眼镜","----","单光：R：-4.50 Ds                      \n    RPD：35 mm\n      L：-2.50 Ds   -2.00 Dc×150 °   \n    LPD：35 mm","2023-4-27","未发现不合格","----"]
[15,"广州市海珠区臻视眼镜店","广州市海珠区宝岗大道396号首层1105房","广州市海珠区臻视眼镜店","广州市海珠区宝岗大道396号首层1105房","近视眼镜","----","单光：R：-4.50 Ds\n      L：-4.00 Ds   -1.00 Dc×180 °   \n     PD：70 mm","2023-4-24","未发现不合格","----"]
[16,"广州市海珠区展视眼镜店","广州市海珠区宝岗大道396号首层103房","广州市海珠区展视眼镜店","广州市海珠区宝岗大道396号首层103房","近视眼镜","----","单光：R：-4.50 Ds\n      L：-3.00 Ds   -1.00 Dc×95 °   \n     PD：70 mm","2023-4-24","未发现不合格","----"]
[17,"广州视康光学眼镜有限公司华工分公司","广州市天河区五山路381号中区服务点3、4号","广州视康光学眼镜有限公司华工分公司","广州市天河区五山路381号中区服务点3、4号","近视眼镜","----","单光：R：-3.50 Ds   -1.00 Dc×10 °   \n      L：-5.00 Ds\n     PD：71 mm","2023-5-10","未发现不合格","----"]
[18,"广州市海珠区联锁合众眼镜店","广州市海珠区江南大道北69号201房（仅限办公用途）","广州市海珠区联锁合众眼镜店","广州市海珠区江南大道北69号201房（仅限办公用途）","近视眼镜","----","单光：R：-3.50 Ds   -1.00 Dc×10 °   \n      L：-5.00 Ds\n     PD：71 mm","2023-4-26","未发现不合格","----"]
[19,"广州市天河沙河明镜廊眼镜店","广州市天河区天河沙河先烈东路东一巷356号","广州市天河沙河明镜廊眼镜店","广州市天河区天河沙河先烈东路东一巷356号","近视眼镜","----","单光：R：-4.50 Ds   \n      L：-2.50 Ds   -2.00 Dc×150 °   \n     PD：70 mm","2023-4-27","未发现不合格","----"]
[20,"广州市白云区同和联营大众眼镜店","广州市白云区京溪街梅花园42号之一","广州市白云区同和联营大众眼镜店","广州市白云区京溪街梅花园42号之一","近视眼镜","----","单光：R：-2.50 Ds   -2.00 Dc×85 °   \n      L：-4.50 Ds\n     PD：55 mm   ","2023-4-24","未发现不合格","----"]
[21,"广州市天河区科技银汇锦泉眼镜店","广州市天河区龙怡路113号102房","广州市天河区科技银汇锦泉眼镜店","广州市天河区龙怡路113号102房","近视眼镜","----","单光：R：-4.00 Ds   -1.00 Dc×5 °   \n    RPD：29 mm   \n      L：-4.25 Ds                    \n    LPD：29 mm","2023-5-11","未发现不合格","----"]
[22,"广州市海珠区矫视眼镜店","广州市海珠区荔福路62号之一107铺（部位：荔福路62号之十）","广州市海珠区矫视眼镜店","广州市海珠区荔福路62号之一107铺（部位：荔福路62号之十）","近视眼镜","----","单光：R：-4.50 Ds  \n      L：-3.00 Ds   -1.00 Dc×95 °   \n     PD：70 mm","2023-4-24","未发现不合格","----"]
[23,"广州精鹰眼镜有限公司","广州市海珠区江贝大街7号101铺（仅限办公","广州精鹰眼镜有限公司","广州市海珠区江贝大街7号101铺（仅限办公","近视眼镜","----","单光：R：-3.25 Ds   -1.50 Dc×85 °   \n      L：-4.50 Ds \n     PD：55 mm","2023-4-27","未发现不合格","----"]
[24,"（百视通）","广州市海珠区江南大道中路109号之三（自编3号）","（百视通）","广州市海珠区江南大道中路109号之三（自编3号）","近视眼镜","----","单光：R：-3.50 Ds   -1.00 Dc×10 °       \n    RPD：35.5 mm\n      L：-5.00 Ds                     \n    LPD：35.5 mm","2023-4-26","未发现不合格","----"]
[25,"广州市白云区江高雪亮钟表眼镜店","广州市白云区江高镇江同路141号106铺","广州市白云区江高雪亮钟表眼镜店","广州市白云区江高镇江同路141号106铺","近视眼镜","----","单光：R：-4.00 Ds   -1.00 Dc×15 °   \n      L：-5.00 Ds\n     PD：66 mm ","2023-4-26","未发现不合格","----"]
[26,"广州大视光眼科诊所有限公司","广州市白云区瑞祥街43号113铺","广州大视光眼科诊所有限公司","广州市白云区瑞祥街43号113铺","近视眼镜","----","单光：R：-4.50 Ds  \n      L：-4.00 Ds   -1.00 Dc×180 °   \n     PD：70 mm","2023-4-24","未发现不合格","----"]
[27,"广州市海珠区睛亮眼镜店","广州市海珠区西华街8号101房","广州市海珠区睛亮眼镜店","广州市海珠区西华街8号101房","近视眼镜","----"," 单光：R：-4.50 Ds  \n       L：-4.00 Ds   -1.00 Dc×180 °   \n      PD：70 mm","2023-4-24","未发现不合格","----"]
[28,"广州市仟健医药有限公司","广州市海珠区江南西路78号1铺","广州市仟健医药有限公司","广州市海珠区江南西路78号1铺","近视眼镜","----"," 单光：R：-3.50 Ds   -1.00 Dc×70 °\n       L：-4.00 Ds   -0.50 Dc×80 °   \n      PD：59 mm","2023-4-27","未发现不合格","----"]
[29,"广东千里目眼科诊所有限公司","广州市天河区龙口西路212号首层03铺","广东千里目眼科诊所有限公司","广州市天河区龙口西路212号首层03铺","近视眼镜","----","单光：R：-5.00 Ds   -1.00 Dc×50 °   \n     L：-5.00 Ds\n    PD：63 mm  ","2023-5-9","未发现不合格","----"]
[30,"广州嘉智眼镜有限公司","广州市天河区天河路228号之一804室","广州嘉智眼镜有限公司","广州市天河区天河路228号之一804室","近视眼镜","----","单光：R：-4.00 Ds                     \n    RPD：34 mm\n      L：-3.50 Ds   -1.00 Dc×40 °   \n    LPD：34 mm","2023-5-11","未发现不合格","----"]
[31,"广州市宏瞻眼镜有限公司","广州市天河区天河北路433号首层之三","广州市宏瞻眼镜有限公司","广州市天河区天河北路433号首层之三","近视眼镜","----","单光：R：-3.50 Ds   -1.00 Dc×30 °\n     L：-3.00 Ds   -0.50 Dc×45 °   \n    PD：68 mm","2023-5-10","未发现不合格","----"]
[32,"湖南光合作用商贸有限公司广州第三十七分公司","广州市白云区百顺北路1号岭南新世界三区商场第二层L205号商铺","湖南光合作用商贸有限公司广州第三十七分公司","广州市白云区百顺北路1号岭南新世界三区商场第二层L205号商铺","近视眼镜","----","单光：R：-4.00 Ds   -1.00 Dc×15 °   \n     L：-5.00 Ds\n    PD：66 mm  ","2023-4-27","未发现不合格","----"]
[33,"广州市飞亮达眼镜有限公司","广州市白云区京溪街南方医院生活服务中心147栋东侧首层2-3号档（自主申报）","广州市飞亮达眼镜有限公司","广州市白云区京溪街南方医院生活服务中心147栋东侧首层2-3号档（自主申报）","近视眼镜","----","单光：R：-3.00 Ds   -1.25 Dc×10 °\n     L：-2.00 Ds   -1.75 Dc×5 °    \n    PD：69 mm","2023-4-25","未发现不合格","----"]
[34,"湖南光合作用商贸有限公司广州第三十分公司","广州市白云区同和街道广州大道北2001号154铺","湖南光合作用商贸有限公司广州第三十分公司","广州市白云区同和街道广州大道北2001号154铺","近视眼镜","----","单光：R：-2.50 Ds   -1.75 Dc×5 °   \n    RPD：27.5 mm\n      L：-4.50 Ds                    \n    LPD：27.5 mm","2023-4-25","未发现不合格","----"]
[35,"广州市白云区铂宁眼镜店","广州市白云区鹤龙二路85号168铺","广州市白云区铂宁眼镜店","广州市白云区鹤龙二路85号168铺","近视眼镜","----"," 单光：R：-3.75 Ds   -1.00 Dc×80 °   \n     RPD：34 mm\n       L：-4.50 Ds                     \n     LPD：34 mm","2023-4-23","未发现不合格","----"]
[36,"湖南光合作用商贸有限公司广州第四十三分公司","广州市白云区百顺北路1号岭南新世界三区商场首层L109号商铺","湖南光合作用商贸有限公司广州第四十三分公司","广州市白云区百顺北路1号岭南新世界三区商场首层L109号商铺","近视眼镜","----","单光：R：-3.50 Ds   -1.00 Dc×45 °   \n      L：-4.00 Ds   \n     PD：58 mm","2023-4-27","未发现不合格","----"]
[37,"广州白云区翰林眼镜商行","广州市白云区夏花三路310号116铺（自主申报）","广州白云区翰林眼镜商行","广州市白云区夏花三路310号116铺（自主申报）","近视眼镜","----","单光：R：-5.00 Ds   -0.25 Dc×170 °   \n      L：-4.00 Ds \n     PD：60 mm","2023-4-26","未发现不合格","----"]
[38,"广州白云区千木眼镜商行","广州市白云区江高镇江同路172号101铺","广州白云区千木眼镜商行","广州市白云区江高镇江同路172号101铺","近视眼镜","----","单光：R：-4.00 Ds   -1.00 Dc×15 °   \n      L：-5.00 Ds \n     PD：66 mm","2023-4-26","未发现不合格","----"]
[39,"广州市白云区江高华光眼镜店","广州市白云区江高江同路126号","广州市白云区江高华光眼镜店","广州市白云区江高江同路126号","近视眼镜","----","单光：R：-4.50 Ds  \n      L：-4.00 Ds   -1.00 Dc×180 °   \n     PD：70 mm ","2023-4-26","未发现不合格","----"]
[40,"广州市白云区江高裕华眼镜店","广州市白云区江高镇江同路57号","广州市白云区江高裕华眼镜店","广州市白云区江高镇江同路57号","近视眼镜","----","单光：R：-4.00 Ds   -1.00 Dc×15 °   \n      L：-5.00 Ds \n     PD：66 mm","2023-4-26","未发现不合格","----"]
[41,"广州市白云区新市百信大众眼镜店","广州市白云区新市街新市大马路14号三楼","广州市白云区新市百信大众眼镜店","广州市白云区新市街新市大马路14号三楼","近视眼镜","----","单光：R：-3.75 Ds   -1.00 Dc×80 °   \n      L：-4.50 Ds\n     PD：68 mm","2023-4-22","未发现不合格","----"]
[42,"广州明廊眼镜技术有限公司白云分店","广州市白云区云霄街353栋的5号停机坪首层L1060N号商铺","广州明廊眼镜技术有限公司白云分店","广州市白云区云霄街353栋的5号停机坪首层L1060N号商铺","近视眼镜","----","单光：R：-3.50 Ds   -0.75 Dc×80 °   \n    RPD：34.5 mm\n      L：-2.50 Ds   -1.50 Dc×85 °   \n    LPD：34.5 mm","2023-4-23","未发现不合格","----"]
[43,"广州市雅视镜眼镜有限公司","广州市白云区棠景街乐嘉路92号首层4铺（自主申报）","广州市雅视镜眼镜有限公司","广州市白云区棠景街乐嘉路92号首层4铺（自主申报）","近视眼镜","----","单光：R：-5.00 Ds   -0.25 Dc×170 °   \n      L：-4.00 Ds \n     PD：60 mm ","2023-4-29","未发现不合格","----"]
[44,"广州市白云区景泰盈视视光眼镜店","广州市白云区广园中路173号首层","广州市白云区景泰盈视视光眼镜店","广州市白云区广园中路173号首层","近视眼镜","----","单光：R：-5.00 Ds   -0.25 Dc×170 °   \n    RPD：30 mm\n      L：-4.00 Ds                      \n    LPD：30 mm","2023-4-28","未发现不合格","----"]
[45,"广州市海珠区逸宁眼镜店（普通合伙）","广州市海珠区新港西路68号[商场201铺之2018][二]层[2018]号商铺","广州市海珠区逸宁眼镜店（普通合伙）","广州市海珠区新港西路68号[商场201铺之2018][二]层[2018]号商铺","近视眼镜","----","单光：R：-4.00 Ds   -1.00 Dc×15 °   \n    RPD：33 mm   \n      L：-5.00 Ds                     \n    LPD：33 mm   ","2023-4-23","未发现不合格","----"]
[46,"广州亮之视眼镜有限公司"," 广州市海珠区现代一街1号、3号、5号、工业大道北82号、82号之一至三135房 ","广州亮之视眼镜有限公司"," 广州市海珠区现代一街1号、3号、5号、工业大道北82号、82号之一至三135房 ","近视眼镜","----","单光：R：-4.50 Ds   \n     L：-4.00 Ds   -1.00 Dc×180 °   \n    PD：70 mm","2023-4-24","未发现不合格","----"]
[47,"米大奇（广州）贸易有限公司","广州市海珠区泰沙路25号之一首层","米大奇（广州）贸易有限公司","广州市海珠区泰沙路25号之一首层","近视眼镜","----","单光：R：-3.50 Ds   -1.00 Dc×100 °   \n      L：-5.00 Ds \n     PD：71 mm","2023-4-26","未发现不合格","----"]
[48,"广州市海珠区力征玲眼镜店","广州市海珠区工业大道南路金碧二街192号铺","广州市海珠区力征玲眼镜店","广州市海珠区工业大道南路金碧二街192号铺","近视眼镜","----","单光：R：-4.50 Ds   \n      L：-3.00 Ds   -1.00 Dc×95 °   \n     PD：70 mm","2023-4-26","未发现不合格","----"]
[49,"广州市白云区金沙朱君眼镜店","广州市白云区金沙街横沙村翠林街147号铺","广州市白云区金沙朱君眼镜店","广州市白云区金沙街横沙村翠林街147号铺","近视眼镜","----","单光：R：-4.50 Ds                      \n    RPD：35 mm\n      L：-4.00 Ds   -1.00 Dc×180 °   \n    LPD：35 mm","2023-4-25","未发现不合格","----"]
[50,"广州超快取眼镜有限公司","广州市白云区金沙街安宁街19号101铺（自主申报）","广州超快取眼镜有限公司","广州市白云区金沙街安宁街19号101铺（自主申报）","近视眼镜","----","单光：R：-4.50 Ds                      \n       L：-4.00 Ds   -1.00 Dc×180 °   PD：70 mm","2023-4-25","未发现不合格","----"]
[51,"广东爱尔海得视医疗投资有限公司海珠分公司","广州市海珠区同福中路庄巷之二首层自编103(仅作写字楼功能用）","广东爱尔海得视医疗投资有限公司海珠分公司","广州市海珠区同福中路庄巷之二首层自编103(仅作写字楼功能用）","其他矫正视力用眼镜","----","渐变焦：\nR：-3.25 Ds-1.50 Dc×180° ADD：+1.00 D\nL：-4.50 Ds                ADD：+1.00 D 远用瞳距: 61 mm（R: 31 mm，L：30 mm）    瞳高：R：20 mm，L：20 mm","2023-4-23","未发现不合格","----"]
[52,"广州明廊眼镜技术有限公司花城大道分店","广州市天河区花城大道85、87号负一层B118单元","广州明廊眼镜技术有限公司花城大道分店","广州市天河区花城大道85、87号负一层B118单元","其他矫正视力用眼镜","----","渐变焦： \nR：-3.25 Ds-1.50 Dc×180° ADD：+1.00 D\nL：-4.50 Ds                ADD：+1.00 D 远用瞳距: 61 mm（R: 31 mm，L：30 mm）    瞳高：R: 20 mm，L：20 mm","2023-4-29","未发现不合格","----"]
[53,"广州拓他眼镜有限公司","广州市海珠区广州大道南978号101铺之三十五","广州拓他眼镜有限公司","广州市海珠区广州大道南978号101铺之三十五","近视眼镜","----","单光：R：-4.00 Ds   -1.00 Dc×15 °   \n    RPD：33 mm\n      L：-5.00 Ds                     \n    LPD：33 mm","2023-05-05","未发现不合格","----"]
[54,"广州海珠区宝一岛眼镜店","广州市海珠区敦和路59号之一首层A区5号","广州海珠区宝一岛眼镜店","广州市海珠区敦和路59号之一首层A区5号","近视眼镜","----","单光：R：-4.00 Ds   -1.00 Dc×15 °   \n      L：-5.00 Ds   \n     PD：66 mm","2023-05-04","未发现不合格","----"]
[55,"广州市海珠区恒裕视光眼镜店","广州市海珠区滨江东路怡凤街97-107号101房（自编）之9","广州市海珠区恒裕视光眼镜店","广州市海珠区滨江东路怡凤街97-107号101房（自编）之9","近视眼镜","----"," 单光：R：-3.50 Ds   -1.00 Dc×10 °   \n       L：-5.00 Ds    \n      PD：71 mm","2023-04-27","未发现不合格","----"]
[56,"广州市海珠区超越视立眼镜店","广州市海珠区新港西路愉悦街6、8号首层8铺","广州市海珠区超越视立眼镜店","广州市海珠区新港西路愉悦街6、8号首层8铺","近视眼镜","----","单光：R：-3.50 Ds   -1.00 Dc×70 °   \n    RPD：29.5 mm\n      L：-4.00 Ds   -0.50 Dc×80 °   \n    LPD：29.5 mm","2023-04-25","未发现不合格","----"]
[57,"广州蒙乾眼镜有限公司","广州市海珠区江怡路258号首层自编八","广州蒙乾眼镜有限公司","广州市海珠区江怡路258号首层自编八","近视眼镜","----","单光：R：-3.50 Ds   -1.00 Dc×70 °  \n      L：-4.00 Ds   -0.50 Dc×80 °   \n     PD：59 mm      ","2023-04-27","未发现不合格","----"]
[58,"广州乐眸眼镜有限公司第七分公司","广州市天河区天河路232号B101房（自编万菱汇B1层102-103号铺）","广州乐眸眼镜有限公司第七分公司","广州市天河区天河路232号B101房（自编万菱汇B1层102-103号铺）","近视眼镜","----","单光：R：-3.50 Ds   -1.00 Dc×80 °   \n    RPD：32.5 mm\n      L：-3.00 Ds                     \n    LPD：32.5 mm","2023-04-28","未发现不合格","----"]
[59,"湖南光合作用商贸有限公司广州第十五分公司","广州市天河区天河路212号，214号，216号；218号，220号（部位：自编220号地下二层B268）","湖南光合作用商贸有限公司广州第十五分公司","广州市天河区天河路212号，214号，216号；218号，220号（部位：自编220号地下二层B268）","近视眼镜","----","单光：R：-4.00 Ds   -1.00 Dc×20 °   \n      L：-5.00 Ds \n     PD：60 mm  ","2023-04-27","未发现不合格","----"]
[60,"广州购书中心有限公司（眼镜直通车）","广州市天河区天河路123号","广州购书中心有限公司（眼镜直通车）","广州市天河区天河路123号","近视眼镜","----","单光：R：-3.75 Ds   -1.00 Dc×60 °   \n    RPD：33.5 mm\n      L：-3.00 Ds                     \n    LPD：33.5 mm","2023-04-28","未发现不合格","----"]
[61,"广州明廊眼镜技术有限公司天河分店","广州市天河区天河路208号天河城广场三楼308-309铺","广州明廊眼镜技术有限公司天河分店","广州市天河区天河路208号天河城广场三楼308-309铺","近视眼镜","----","单光：R：-5.00 Ds   -0.50 Dc×30 °   \n    RPD：31 mm\n      L：-5.00 Ds   -1.00 Dc×50 °   \n    LPD：31 mm","2023-04-27","未发现不合格","----"]
[62,"广州海珠区帕莎眼镜店","广州市海珠区暄悦西街8号1049铺","广州海珠区帕莎眼镜店","广州市海珠区暄悦西街8号1049铺","近视眼镜","----","单光：R：-3.00 Ds   -1.50 Dc×30 °   \n      L：-3.00 Ds   -1.25 Dc×25 °   \n     PD：71 mm","2023-04-27","未发现不合格","----"]
[63,"广州市海珠区锐目眼镜店","广州市海珠区上渡路123号C202房（部位：自编之十C12、C16）","广州市海珠区锐目眼镜店","广州市海珠区上渡路123号C202房（部位：自编之十C12、C16）","近视眼镜","----","单光：R：-3.00 Ds   -1.25 Dc×40 °   \n    RPD：35.5 mm\n      L：-3.00 Ds   -1.50 Dc×35 °   \n    LPD：35.5 mm","2023-04-27","未发现不合格","----"]
[64,"广州高昂光学科技有限公司天源分公司","广州市天河区天源路5号101房L131","广州高昂光学科技有限公司天源分公司","广州市天河区天源路5号101房L131","近视眼镜","----","单光：R：-4.50 Ds                      \n      L：-2.50 Ds   -2.00 Dc×150 °   \n     PD：70 mm","2023-04-23","未发现不合格","----"]
[65,"广州市天河区凤凰飞之达眼镜店","广州市天河区渔兴路21号101房","广州市天河区凤凰飞之达眼镜店","广州市天河区渔兴路21号101房","近视眼镜","----","单光：R：-3.00 Ds   -1.25 Dc×10 °      \n      L：-2.00 Ds   -1.75 Dc×5 °    \n     PD：69 mm    ","2023-04-28","未发现不合格","----"]
[66,"广州客村星博汇眼镜中心","广州市海珠区凤和旧市头艺苑南路2号201房（不可作厂房使用）","广州客村星博汇眼镜中心","广州市海珠区凤和旧市头艺苑南路2号201房（不可作厂房使用）","近视眼镜","----","单光：R：-4.50 Ds                      \n      L：-3.00 Ds   -1.00 Dc×95 °   \n     PD：70 mm","2023-05-05","未发现不合格","----"]
[67,"广州晟视长运科技有限公司海珠分公司","广州市海珠区新港中路352号之二101铺自编C1-016号","广州晟视长运科技有限公司海珠分公司","广州市海珠区新港中路352号之二101铺自编C1-016号","近视眼镜","----","单光：R：-4.50 Ds                      \n      L：-3.00 Ds   -1.00 Dc×95 °   \n     PD：70 mm","2023-05-05","未发现不合格","----"]
[68,"广州市海珠区眼保眼镜经营部（普通合伙）","广州市海珠区同福中路560号101铺","广州市海珠区眼保眼镜经营部（普通合伙）","广州市海珠区同福中路560号101铺","近视眼镜","----","单光：R：-3.75 Ds   -1.00 Dc×80 °   \n      L：-4.50 Ds   \n     PD：68 mm","2023-04-23","未发现不合格","----"]
[69,"广州高昂光学科技有限公司嘉禾分公司","广州市白云区鹤龙二路85号3层301号房","广州高昂光学科技有限公司嘉禾分公司","广州市白云区鹤龙二路85号3层301号房","近视眼镜","----","单光：R：-3.75 Ds   -1.00 Dc×80 °   \n      L：-4.50 Ds   \n     PD：68 mm","2023-04-23","未发现不合格","----"]
[70,"广州海珠区琶洲眼管家眼科门诊部有限公司","广州市海珠区新港东路43号之二201房之二","广州海珠区琶洲眼管家眼科门诊部有限公司","广州市海珠区新港东路43号之二201房之二","近视眼镜","----","单光：R：-4.00 Ds   -1.00 Dc×15 °   \n    RPD：33 mm   \n      L：-5.00 Ds                     \n    LPD：33 mm  ","2023-04-25","未发现不合格","----"]
[71,"广州丽视眼镜有限公司","广州市海珠区金碧一街58首层102","广州丽视眼镜有限公司","广州市海珠区金碧一街58首层102","近视眼镜","----","单光：R：-3.50 Ds   -1.00 Dc×45 °     \n      L：-4.00 Ds    \n     PD：58 mm      ","2023-04-25","未发现不合格","----"]
[72,"广州市尊视阁贸易有限公司","广州市天河区天河路228号之一609室（仅限办公）（不可作厂房使用）","广州市尊视阁贸易有限公司","广州市天河区天河路228号之一609室（仅限办公）（不可作厂房使用）","近视眼镜","----","单光：R：-4.50 Ds   -1.00 Dc×120 °   \n    RPD：33 mm   \n      L：-3.50 Ds   -0.50 Dc×50 °    \n    LPD：33 mm    ","2023-04-27","未发现不合格","----"]
[73,"广州尚渲美眼镜有限公司","广州市天河区东圃大马路6号之二首层44号铺（仅限办公用途）","广州尚渲美眼镜有限公司","广州市天河区东圃大马路6号之二首层44号铺（仅限办公用途）","近视眼镜","----","单光：R：-3.00 Ds   -0.50 Dc×30 °   \n      L：-4.00 Ds \n     PD：61 mm  ","2023.04.26","未发现不合格","----"]
[74,"广州市海珠区明睛验光配镜服务部","广州市海珠区石榴岗路1号大院7号楼3楼楼梯口","广州市海珠区明睛验光配镜服务部","广州市海珠区石榴岗路1号大院7号楼3楼楼梯口","近视眼镜","----","单光：R：-4.50 Ds                     \n      L：-4.00 Ds   -1.00 Dc×180 °   \n     PD：70 mm  ","2023-04-25","未发现不合格","----"]
[75,"广州市睿视杰眼镜有限公司","广州市海珠区石基村新屋五巷1号102铺","广州市睿视杰眼镜有限公司","广州市海珠区石基村新屋五巷1号102铺","近视眼镜","----","单光：R：-3.00 Ds   -1.25 Dc×10 °       \n    RPD：33.5 mm\n      L：-4.25 Ds                     \n    LPD：33.5 mm ","2023-04-27","未发现不合格","----"]
[76,"广州佐佑眼镜有限公司","广州市天河区天源路5号101房（部位：L118、L119）","广州佐佑眼镜有限公司","广州市天河区天源路5号101房（部位：L118、L119）","近视眼镜","----","单光：R：-2.50 Ds   -1.00 Dc×30 °   \n      L：-2.00 Ds   \n     PD：66 mm                 ","2023-04-23","未发现不合格","----"]
[77,"广州市天河区天河南街尚诚眼镜店","广州市天河区天河南一路22号201房","广州市天河区天河南街尚诚眼镜店","广州市天河区天河南一路22号201房","近视眼镜","----","单光：R：-3.00 Ds                     \n    RPD：30 mm\n      L：-4.00 Ds   -1.00 Dc×60 °   \n    LPD：30 mm                 ","2023-4-27","未发现不合格","----"]
[78,"广州秒清眼镜有限公司","广州市白云区翰云路253号101（101）铺","广州秒清眼镜有限公司","广州市白云区翰云路253号101（101）铺","近视眼镜","----","单光：R：-3.50 Ds   -1.00 Dc×45 °   \n      L：-4.00 Ds   \n     PD：58 mm                 ","2023-4-27","未发现不合格","----"]
[79,"广州市白云区同德街华业视光眼镜店","广州市白云区同德街横滘路49号106铺","广州市白云区同德街华业视光眼镜店","广州市白云区同德街横滘路49号106铺","近视眼镜","----","单光：R：-4.00 Ds   -1.00 Dc×15 °   \n      L：-5.00 Ds \n     PD：66 mm","2023-4-26","未发现不合格","----"]
[80,"广州市白云区同德街明泉眼镜店","广州市白云区西槎路323-335号116铺","广州市白云区同德街明泉眼镜店","广州市白云区西槎路323-335号116铺","近视眼镜","----","单光：R：-3.00 Ds   -1.25 Dc×10 °   \n     L：-4.25 Ds  \n    PD：67 mm                 ","2023-04-25","未发现不合格","----"]
[81,"广州市白云区同德街广雅眼镜店","广州市白云区西槎路259号23B铺之三","广州市白云区同德街广雅眼镜店","广州市白云区西槎路259号23B铺之三","近视眼镜","----","单光：R：-3.00 Ds   -1.25 Dc×10 °   \n     L：-4.25 Ds  \n    PD：67 mm                 ","2023-04-25","未发现不合格","----"]
[82,"广州市明神光学眼镜有限公司","广州市天河区龙岗东路15号102房","广州市明神光学眼镜有限公司","广州市天河区龙岗东路15号102房","近视眼镜","----","单光：R：-4.50 Ds   \n      L：-2.50 Ds   -2.00 Dc×150 °   \n     PD：70 mm","2023-4-27","未发现不合格","----"]
[83,"广州一川眼镜有限公司","广州市天河区棠德南路191-193号","广州一川眼镜有限公司","广州市天河区棠德南路191-193号","近视眼镜","----","单光：R：-3.50 Ds   -1.00 Dc×40 °   \n    RPD：30 mm\n      L：-4.00 Ds                     \n    LPD：30 mm","2023-04-25","未发现不合格","----"]
[84,"广州直通车眼镜有限公司","广州市天河区天河路228号之二3806房（仅限办公用途）","广州直通车眼镜有限公司","广州市天河区天河路228号之二3806房（仅限办公用途）","近视眼镜","----","单光：R：-3.50 Ds                      \n    RPD：34 mm\n      L：-3.00 Ds   -0.50 Dc×150 °   \n    LPD：34 mm","2023-4-27","未发现不合格","----"]
[85,"湖南光合作用商贸有限公司广州第十八分公司","广州市天河区天河路228号正佳广场1F-G051b号商铺","湖南光合作用商贸有限公司广州第十八分公司","广州市天河区天河路228号正佳广场1F-G051b号商铺","其他矫正视力用眼镜","----","渐变焦： R：-4.00 Ds      ADD：+2.50 D\n         L：-4.50 Ds      ADD：+2.50 D 远用瞳距: 64 mm（R: 32 mm，L：32 mm）    瞳高：R：25 mm，L：25 mm","2023-04-25","未发现不合格","----"]
[86,"广州市视朗眼镜有限公司","广州市天河区陶育路新陶北街5号首层自编10号铺","广州市视朗眼镜有限公司","广州市天河区陶育路新陶北街5号首层自编10号铺","近视眼镜","----","单光：R：-4.50 Ds  \n      L：-4.00 Ds   -1.00 Dc×180 °   \n     PD：70 mm ","2023-05-10","未发现不合格","----"]
[87,"广州瞻视眼镜有限公司","广州市天河区粤垦路614号101铺之05号","广州瞻视眼镜有限公司","广州市天河区粤垦路614号101铺之05号","近视眼镜","----","单光：R：-4.50 Ds     \n      L：-2.50 Ds   -2.00 Dc×150 °   \n     PD：70 mm        ","2023-04-27","未发现不合格","----"]
[88,"广州市天河区东棠华观眼镜店","广州市天河区棠德南路265号首层自编4铺","广州市天河区东棠华观眼镜店","广州市天河区棠德南路265号首层自编4铺","近视眼镜","----","单光：R：-3.50 Ds   -1.00 Dc×120 °   \n      L：-2.50 Ds \n     PD：66 mm","2023-04-25","未发现不合格","----"]
[89,"广州市东方眼镜连锁企业有限公司天河分店","广州市天河区天河路208号天河城广场317-319铺","广州市东方眼镜连锁企业有限公司天河分店","广州市天河区天河路208号天河城广场317-319铺","近视眼镜","----","单光：R：-4.00 Ds   -0.50 Dc×30 °   \n    RPD：30 mm\n      L：-5.00 Ds                     \n    LPD：30 mm","2023-4-27","未发现不合格","----"]
[90,"广州市南田锦泉眼镜有限公司","广州市海珠区南田路799号10号铺","广州市南田锦泉眼镜有限公司","广州市海珠区南田路799号10号铺","近视眼镜","----","单光：R：-2.50 Ds   -1.75 Dc×5 °   \n    RPD：27.5 mm\n      L：-4.50 Ds                    \n    LPD：27.5 mm              ","2023-4-26","未发现不合格","----"]
[91,"广州市一站式眼镜有限公司","广州市白云区广州大道北1632号101铺","广州市一站式眼镜有限公司","广州市白云区广州大道北1632号101铺","近视眼镜","----","单光：R：-3.75 Ds   -1.00 Dc×80 °   \n      L：-4.50 Ds\n     PD：68 mm   ","2023-04-23","未发现不合格","----"]
[92,"广州嘉汇眼镜有限公司","广州市白云区京溪街白灰场路1号8楼807房","广州嘉汇眼镜有限公司","广州市白云区京溪街白灰场路1号8楼807房","近视眼镜","----","单光：R：-3.50 Ds   -0.75 Dc×80 °   \n    RPD：34.5 mm\n      L：-2.50 Ds   -1.50 Dc×85 °   \n    LPD：34.5 mm","2023-04-23","未发现不合格","----"]
[93,"广州楼上眼镜有限公司广州大道北分公司","广州白云区广州大道北1634号101铺","广州楼上眼镜有限公司广州大道北分公司","广州白云区广州大道北1634号101铺","近视眼镜","----","单光：R：-4.50 Ds                      \n    RPD：35 mm\n      L：-4.00 Ds   -1.00 Dc×180 °   \n    LPD：35 mm","2023-04-24","未发现不合格","----"]
[94,"广州天河区优视力小亮点眼科诊所有限公司","广州市天河区天河路228号401铺（部位：自编四楼-4F001房-H1-02b）(不可作厂房使用)","广州天河区优视力小亮点眼科诊所有限公司","广州市天河区天河路228号401铺（部位：自编四楼-4F001房-H1-02b）(不可作厂房使用)","近视眼镜","----","单光：R：-3.75 Ds   -0.50 Dc×15 °   \n    RPD：32 mm\n      L：-4.00 Ds                     \n    LPD：32 mm","2023-4-27","未发现不合格","----"]
[95,"广州市海珠区慧仕眼镜店","广州市海珠区沥滘农贸自编B30","广州市海珠区慧仕眼镜店","广州市海珠区沥滘农贸自编B30","近视眼镜","----","单光：R：-4.00 Ds   -1.00 Dc×15 °   \n      L：-5.00 Ds \n     PD：66 mm","2023-5-5","未发现不合格","----"]
[96,"广州市海珠区靓视点眼镜店","广州市海珠区南洲路晓港湾文华街68号","广州市海珠区靓视点眼镜店","广州市海珠区南洲路晓港湾文华街68号","近视眼镜","----","单光：R：-4.50 Ds   \n      L：-3.00 Ds   -1.00 Dc×95 °   \n     PD：70 mm","2023-04-28","未发现不合格","----"]
[97,"广东星创眼镜有限公司南洲路分公司","广州市海珠区南洲路北晓港湾英华街13号首层自编A022号商铺","广东星创眼镜有限公司南洲路分公司","广州市海珠区南洲路北晓港湾英华街13号首层自编A022号商铺","近视眼镜","----","单光：R：-3.50 Ds   -1.00 Dc×10 °   \n    RPD：35.5 mm\n      L：-5.00 Ds                     \n    LPD：35.5 mm","2023-04-28","未发现不合格","----"]
[98,"广州市海珠区锦辉泉眼镜店","广州市海珠区昌岗中路135号首层自编1号、2号、3号","广州市海珠区锦辉泉眼镜店","广州市海珠区昌岗中路135号首层自编1号、2号、3号","其他矫正视力用眼镜","----","渐变焦：\nR：-3.00 Ds-1.50 Dc×10° ADD：+1.50 D L：-5.00 Ds    ADD：+1.50 D \n远用瞳距: 61 mm（R: 31 mm，L：30 mm）    瞳高：R：19 mm，L：19 mm","2023-5-4","未发现不合格","----"]
[99,"广州直通车眼镜有限公司新港分公司","广州市海珠区新港西路97、99、101号二楼自编202","广州直通车眼镜有限公司新港分公司","广州市海珠区新港西路97、99、101号二楼自编202","其他矫正视力用眼镜","----","渐变焦： R：-4.00 Ds      ADD：+2.50 D\n         L：-4.50 Ds      ADD：+2.50 D 远用瞳距: 64 mm（R: 32 mm，L：32 mm）    瞳高：R：19 mm，L：20 mm","2023-04-25","未发现不合格","----"]
[100,"广州孔氏眼视光光学技术有限公司","广州市白云区钟落潭镇钟升东路20号102-103铺（自主申报）","广州孔氏眼视光光学技术有限公司","广州市白云区钟落潭镇钟升东路20号102-103铺（自主申报）","近视眼镜","----","单光：R：-4.50 Ds                      \n    RPD：35 mm\n      L：-4.00 Ds   -1.00 Dc×180 °   \n    LPD：35 mm","2023-04-24","未发现不合格","----"]
[101,"广州市天河区天平巴力眼镜超市","广州市天河区燕塘农贸市场正门新商铺4号","广州市天河区天平巴力眼镜超市","广州市天河区燕塘农贸市场正门新商铺4号","近视眼镜","----","单光：R：-3.00 Ds                     \n      L：-4.00 Ds   -0.50 Dc×50 °   \n     PD：62 mm","2023-5-22","未发现不合格","----"]
[102,"广州市天河区石牌晴彩眼镜店","广州市天河区陶育路新陶北街5号首层12号铺","广州市天河区石牌晴彩眼镜店","广州市天河区陶育路新陶北街5号首层12号铺","近视眼镜","----","单光：R：-4.50 Ds   \n      L：-4.00 Ds   -1.00 Dc×180 °   \n     PD：70 mm   ","2023-05-10","未发现不合格","----"]
[103,"广州市天河区科技锦泉眼镜店","广州市天河区五山路128－2号（10）","广州市天河区科技锦泉眼镜店","广州市天河区五山路128－2号（10）","近视眼镜","----","单光：R：-3.50 Ds   -1.00 Dc×10 °   \n    RPD：35.5 mm\n      L：-5.00 Ds                     \n    LPD：35.5 mm","2023-05-10","未发现不合格","----"]
[104,"广州飞一达眼镜连锁有限公司","广州市天河区迎福路527号金融学院11栋首层","广州飞一达眼镜连锁有限公司","广州市天河区迎福路527号金融学院11栋首层","近视眼镜","----","单光：R：-4.00 Ds   -1.00 Dc×15 °   \n      L：-5.00 Ds \n     PD：66 mm                   ","2023-04-28","未发现不合格","----"]
[105,"广州市百越眼镜有限公司","广州市海珠区赤岗路317号101铺","广州市百越眼镜有限公司","广州市海珠区赤岗路317号101铺","近视眼镜","----","单光：R：-3.50 Ds   -1.00 Dc×45 °   \n      L：-4.00 Ds \n     PD：58 mm                   ","2023-04-25","未发现不合格","----"]
[106,"广州增彩眼镜有限公司","广州市海珠区新港中路350号之四202房自编03","广州增彩眼镜有限公司","广州市海珠区新港中路350号之四202房自编03","近视眼镜","----","单光：R：-3.75 Ds   -1.00 Dc×80 °   \n    RPD：34 mm\n      L：-4.50 Ds                     \n    LPD：34 mm","2023-04-25","未发现不合格","----"]
[107,"北京同仁堂广州药业连锁有限公司昌岗店","广州市海珠区昌岗中路166号之二102、103、104房","北京同仁堂广州药业连锁有限公司昌岗店","广州市海珠区昌岗中路166号之二102、103、104房","近视眼镜","----","单光：R：-3.00 Ds   -1.25 Dc×10 °   \n     L：-4.25 Ds   \n    PD：67 mm                  ","2023-04-27","未发现不合格","----"]
[108,"眼视光医院管理（广州）有限公司","广州市天河区华夏路49号之二708房（仅限办公）","眼视光医院管理（广州）有限公司","广州市天河区华夏路49号之二708房（仅限办公）","近视眼镜","----","单光：R：-4.00 Ds   -1.00 Dc×50 °\n     L：-3.50 Ds   -1.00 Dc×80 °   \n    PD：62 mm","2023-04-23","未发现不合格","----"]
[109,"广州市傲视眼镜有限公司","广州市海珠区革新路16号之三","广州市傲视眼镜有限公司","广州市海珠区革新路16号之三","近视眼镜","----","单光：R：-4.00 Ds   -1.00 Dc×15 °   \n      L：-5.00 Ds \n     PD：66 mm","2023-4-23","未发现不合格","----"]
[110,"广州市眼之家医疗科技有限公司","广州市天河区华穗路406号之二2301-2303房（仅限办公）","广州市眼之家医疗科技有限公司","广州市天河区华穗路406号之二2301-2303房（仅限办公）","近视眼镜","----","单光：R：-5.00 Ds   -2.00 Dc×50 °\n      L：-4.00 Ds   -1.00 Dc×30 °   \n     PD：62 mm","2023-4-23","未发现不合格","----"]
[111,"广州贸昌眼镜有限公司","广州市天河区雅怡街5号101铺","广州贸昌眼镜有限公司","广州市天河区雅怡街5号101铺","近视眼镜","----","单光：R：-2.50 Ds   -1.00 Dc×75 °   \n      L：-3.00 Ds \n     PD：68 mm","2023-4-26","未发现不合格","----"]
[112,"广州光彩眼镜有限公司","广州市白云区安宁街15号501室","广州光彩眼镜有限公司","广州市白云区安宁街15号501室","近视眼镜","----","单光：R：-4.50 Ds                      \n    RPD：35 mm\n      L：-4.00 Ds   -1.00 Dc×180 °   \n    LPD：35 mm   ","2023-4-25","未发现不合格","----"]
[113,"广州乐眸眼镜有限公司第四分公司","广州市天河区中山大道中437号负一至六层(部位：东圃广场天银商贸大厦自编DP1-013)","广州乐眸眼镜有限公司第四分公司","广州市天河区中山大道中437号负一至六层(部位：东圃广场天银商贸大厦自编DP1-013)","近视眼镜","----","单光：R：-4.25 Ds                      \n    RPD：33.5 mm\n      L：-4.50 Ds   -0.50 Dc×180 °   \n    LPD：33.5 mm  ","2023-4-26","未发现不合格","----"]
[114,"广州市白云区松洲宁视光眼镜店","广州市白云区松洲街校园路22号2栋118房(自主申报)","广州市白云区松洲宁视光眼镜店","广州市白云区松洲街校园路22号2栋118房(自主申报)","近视眼镜","----","单光：R：-3.00 Ds   -1.25 Dc×10 °   \n     L：-4.25 Ds \n    PD：67 mm","2023-4-25","未发现不合格","----"]
[115,"广州市海珠区明仕眼镜商行","广州市海珠区赤岗路297号","广州市海珠区明仕眼镜商行","广州市海珠区赤岗路297号","近视眼镜","----","单光：R：-3.25 Ds   -1.00 Dc×85 °   \n      L：-4.50 Ds \n     PD：56 mm","2023-4-25","未发现不合格","----"]
[116,"广州市海珠区景中眼镜店","广州市海珠区赤岗路45号首层自编之二自编8号","广州市海珠区景中眼镜店","广州市海珠区赤岗路45号首层自编之二自编8号","近视眼镜","----","单光：R：-3.50 Ds   -1.00 Dc×70 °\n      L：-4.00 Ds   -0.50 Dc×80 °   \n     PD：59 mm","2023-4-25","未发现不合格","----"]
[117,"广州楼上眼镜有限公司新港中路分公司","广州市海珠区新港中路350号之三1号铺","广州楼上眼镜有限公司新港中路分公司","广州市海珠区新港中路350号之三1号铺","近视眼镜","----","单光：R：-4.00 Ds   -1.00 Dc×15 °   \n    RPD：33 mm\n      L：-5.00 Ds                     \n    LPD：33 mm ","2023-4-25","未发现不合格","----"]
[118,"广州市天河区员村精益眼镜店","广州市天河区员村二横路2号综合楼首层自编B-9铺","广州市天河区员村精益眼镜店","广州市天河区员村二横路2号综合楼首层自编B-9铺","近视眼镜","----","单光：R：-5.00 Ds   -1.00 Dc×80 °\n      L：-3.50 Ds   -2.00 Dc×50 °   \n     PD：62 mm","2023-4-21","未发现不合格","----"]
[119,"广州市天河区员村艺光眼镜店","广州市天河区员村三横路东巷1号之二B房","广州市天河区员村艺光眼镜店","广州市天河区员村三横路东巷1号之二B房","近视眼镜","----","单光：R：-4.00 Ds   -1.00 Dc×50 °\n      L：-5.00 Ds   -1.00 Dc×80 °   \n     PD：62 mm","2023-4-20","未发现不合格","----"]
[120,"广州大芳眼镜商行","广州市天河区黄埔大道中路伟诚街12号115号铺","广州大芳眼镜商行","广州市天河区黄埔大道中路伟诚街12号115号铺","近视眼镜","----","单光：R：-3.50 Ds   -0.50 Dc×120 °   \n      L：-3.00 Ds  \n     PD：66 mm","2023-4-23","未发现不合格","----"]
[121,"广州市天河区东棠精威眼镜店","广州市天河区华景路69号114房","广州市天河区东棠精威眼镜店","广州市天河区华景路69号114房","近视眼镜","----","单光：R：-5.00 Ds   -1.00 Dc×50 °\n      L：-4.00 Ds   -0.50 Dc×80 °   \n     PD：62 mm","2023-4-21","未发现不合格","----"]
[122,"湖南光合作用商贸有限公司广州第八分公司","广州市天河珠江新城兴民路222号自编裙楼商城第三层315A商铺","湖南光合作用商贸有限公司广州第八分公司","广州市天河珠江新城兴民路222号自编裙楼商城第三层315A商铺","近视眼镜","----"," 单光：R：-4.00 Ds   -1.00 Dc×50 °\n       L：-4.50 Ds   -2.00 Dc×60 °     \n      PD：62 mm","2023-4-23","未发现不合格","----"]
[123,"宝视（广东）视光眼镜有限公司第十七分店","广州市天河区兴民路222号301房自编323商铺","宝视（广东）视光眼镜有限公司第十七分店","广州市天河区兴民路222号301房自编323商铺","近视眼镜","----","单光：R：-3.50 Ds   -1.00 Dc×50 °\n      L：-4.00 Ds   -0.50 Dc×80 °   \n     PD：62 mm","2023-4-23","未发现不合格","----"]
[124,"宝视（广东）视光眼镜有限公司第十六分店","广州市天河区兴民路222号401房自编418B商铺","宝视（广东）视光眼镜有限公司第十六分店","广州市天河区兴民路222号401房自编418B商铺","近视眼镜","----","单光：R：-5.00 Ds   -1.00 Dc×30 °   \n      L：-3.50 Ds  \n     PD：62 mm","2023-4-26","未发现不合格","----"]
[125,"宝视（广东）视光眼镜有限公司第二十八分店","广州市天河兴民路222号地下2层B201房自编B202A商铺","宝视（广东）视光眼镜有限公司第二十八分店","广州市天河兴民路222号地下2层B201房自编B202A商铺","近视眼镜","----","单光：R：-3.50 Ds   -1.00 Dc×50 °   \n      L：-5.00 Ds\n     PD：61 mm ","2023-4-26","未发现不合格","----"]
[126,"广州市天河区车陂众光明视眼镜店","广州市天河区车陂北街29号车陂综合市场第7号铺","广州市天河区车陂众光明视眼镜店","广州市天河区车陂北街29号车陂综合市场第7号铺","近视眼镜","----","单光：R：-3.00 Ds                       \n      L：-4.50 Ds    -0.50 Dc×30 °   \n      PD：61 mm","2023-04-26","不合格","定配眼镜水平光学中心与眼瞳的单侧偏差"]
[127,"广州市白云区石门明越眼镜店","广州市白云区石门街红星村临塘红星农贸综合市场内编号2栋7之一号铺","广州市白云区石门明越眼镜店","广州市白云区石门街红星村临塘红星农贸综合市场内编号2栋7之一号铺","近视眼镜","----","单光：R：-4.00 Ds   -1.00 Dc×15 °       \n      L：-5.00 Ds\n     PD：66 mm","2023-4-26","不合格","定配眼镜光学中心水平距离、定配眼镜水平光学中心与眼瞳的单侧偏差"]
[128,"广州市明廊眼镜科技有限公司","广州市白云区黄石西路马务南街26号首层","广州市明廊眼镜科技有限公司","广州市白云区黄石西路马务南街26号首层","近视眼镜","----","单光：R：-3.75 Ds   -1.00 Dc×80 °    \n      L：-4.50 Ds    \n     PD：68 mm  ","2023-4-23","不合格","定配眼镜水平光学中心与眼瞳的单侧偏差"]
[129,"广州明廊眼镜技术有限公司天河路第四分公司","广州市天河区天河路208号天河城购物中心第二层248号商铺","广州明廊眼镜技术有限公司天河路第四分公司","广州市天河区天河路208号天河城购物中心第二层248号商铺","近视眼镜","----","单光：R：-5.00 Ds                        \n    RPD：30.5 mm\n      L：-5.00 Ds    -0.50 Dc×150 °   \n    LPD：30.5 mm","2023-04-27","不合格","定配眼镜水平光学中心与眼瞳的单侧偏差"]
[130,"广州市天河区锦承泉视光眼镜店","广州市天河区体育东路31号首层之一自编101号铺","广州市天河区锦承泉视光眼镜店","广州市天河区体育东路31号首层之一自编101号铺","近视眼镜","----","单光：R：-4.00 Ds   -0.50 Dc×90 °   \n    RPD：32 mm\n      L：-3.00 Ds                     \n    LPD：32 mm","2023-04-28","不合格","定配眼镜光学中心水平距离、定配眼镜水平光学中心与眼瞳的单侧偏差"]
[131,"广州市天河区华咣眼镜店","广州市天河区雅怡街54号首层","广州市天河区华咣眼镜店","广州市天河区雅怡街54号首层","近视眼镜","----","单光：R：-3.75 Ds   \n      L：-4.00 Ds   -1.00 Dc×30 °   \n     PD：67 mm","2023-04-26","不合格","定配眼镜水平光学中心与眼瞳的单侧偏差"]
[132,"广州市白云区京溪卡奇诺眼镜店","广州市白云区广州大道北1638号101铺之一","广州市白云区京溪卡奇诺眼镜店","广州市白云区广州大道北1638号101铺之一","近视眼镜","----","单光：R：-3.50 Ds   -1.00 Dc×70 °   \n     L：-4.00 Ds   -0.50 Dc×80 °   \n    PD：59 mm","2023-04-25","不合格","定配眼镜水平光学中心与眼瞳的单侧偏差"]
[133,"广州诺亚视光贸易有限公司白云同和分公司","广州市白云区同和街同和桥南东巷2号501房","广州诺亚视光贸易有限公司白云同和分公司","广州市白云区同和街同和桥南东巷2号501房","近视眼镜","----","单光：R：-3.50 Ds   -1.00 Dc×45 °   \n    RPD：29 mm\n      L：-4.00 Ds                     \n    LPD：29 mm","2023-4-26","不合格","顶焦度"]
[134,"广州市天河区东棠禅酷美眼镜店","广州市天河区棠下南边大街5巷西9号二楼","广州市天河区东棠禅酷美眼镜店","广州市天河区棠下南边大街5巷西9号二楼","近视眼镜","----","单光：R：-3.50 Ds   -0.75 Dc×80 °  \n   RPD：34.5 mm\n     L：-2.50 Ds   -1.50 Dc×85 °  \n   LPD：34.5 mm","2023-04-25","不合格","定配眼镜水平光学中心与眼瞳的单侧偏差"]
[135,"广州市天明眼镜有限公司","广州市天河区先烈东路206号102铺","广州市天明眼镜有限公司","广州市天河区先烈东路206号102铺","近视眼镜","----","单光：R：-4.50 Ds   \n      L：-2.50 Ds   -2.00 Dc×150 °   \n     PD：70 mm","2023-04-27","不合格","定配眼镜水平光学中心与眼瞳的单侧偏差"]
[136,"广州博志眼镜有限公司","广州市白云区永平街学山塘街23号102房","广州博志眼镜有限公司","广州市白云区永平街学山塘街23号102房","近视眼镜","----","单光：R：-3.50 Ds   -1.00 Dc×45 °  \n    RPD：29 mm\n      L：-4.00 Ds                    \n    LPD：29 mm","2023-04-26","不合格","定配眼镜光学中心水平距离、定配眼镜水平光学中心与眼瞳的单侧偏差、装配质量"]
[137,"广州市白云区同和愈太美眼镜店","广州市白云区广州大道北1420号自编A2号商铺","广州市白云区同和愈太美眼镜店","广州市白云区广州大道北1420号自编A2号商铺","近视眼镜","----","单光：R：-3.00 Ds   -1.25 Dc×40 °   \n    RPD：35.5 mm\n       L：-3.00 Ds   -1.50 Dc×35 °   \n     LPD：35.5 mm","2023-04-24","不合格","定配眼镜水平光学中心与眼瞳的单侧偏差"]
[138,"广州星宸眼镜店","广州市天河区东圃二马路69号26房","广州星宸眼镜店","广州市天河区东圃二马路69号26房","近视眼镜","----","单光：R：-2.50 Ds   -2.00 Dc×85 °   \n      L：-4.50 Ds\n     PD：55 mm","2023-05-08","不合格","定配眼镜水平光学中心与眼瞳的单侧偏差"]
[139,"广州市白云区竹料联合大众眼镜店","广州市白云区钟落潭镇竹料大街108号5房","广州市白云区竹料联合大众眼镜店","广州市白云区钟落潭镇竹料大街108号5房","近视眼镜","----","单光：R：-4.50 Ds   \n     L：-4.00 Ds   -1.00 Dc×180 °   \n    PD：70 mm","2023-04-24","不合格","定配眼镜光学中心水平距离、定配眼镜水平光学中心与眼瞳的单侧偏差"]
[140,"广州诗琪眼镜有限公司正佳广场分公司","广州市天河区天河路228号正佳广场3F-3B050-51","广州诗琪眼镜有限公司正佳广场分公司","广州市天河区天河路228号正佳广场3F-3B050-51","其他矫正视力用眼镜","----","渐变焦： R：-4.00 Ds      ADD：+2.50 D\n         L：-4.50 Ds      ADD：+2.50 D 远用瞳距：64 mm（R: 32 mm，L：32 mm）    瞳高：R：19 mm，L：20 mm","2023-04-25","不合格","配适点的水平位置"]