{"text_format":"3","workbook":"xlsx","n_sheets":1,"sheets":["Sheet1"],"read":"whole","date_system":"1900"}

{"sheet":"Sheet1","index":0,"n_rows":10,"n_cols":12,"rows_kept":10,"merged":[[0,0,0,11]]}
["2023年广州市嵌入式灯具产品质量监督抽查结果"]
["序号","被抽查市场主体名称","被抽样市场主体地址","生产单位名称\n（标称）","生产单位地址（标称）","产品名称","商标\n（标称）","规格型号","生产日期/批号","综合判定","不合格项目","备注"]
[1,"广州市黄埔区兴润达电器经营部","广州市黄埔区黄埔东路3888号东兴市场五金区自编五金65号商铺","广东三雄极光照明股份有限公司","广州市番禺区石壁街石洲中路240号发现广场1202","星韵系列LED筒灯","----","PAK560275","----","未发现不合格","----"]
[2,"广州繁星金属贸易有限公司","广州市番禺区桥南街汇景大道213号","惠州雷士光电科技有限公司","惠州市汝湖雷士工业园","LED筒灯","图形商标","NLED9203N 5W 4000K","----","未发现不合格","----"]
[3,"广州洁亮水电设备安装有限公司","广州市增城区新塘镇奥园康威二街6号2幢101","昕诺飞（中国）投资有限公司","中国上海市闵行区田林路888弄9号楼","LED筒灯 恒亮 二代","----","9290026154","----","未发现不合格","----"]
[4,"广州洁亮水电设备安装有限公司","广州市增城区新塘镇奥园康威二街6号2幢101","佛山电器照明股份有限公司","广东省佛山市汾江北路64号","铂金系列多功能筒灯","FSL","MQ2.5V2-LED5.5","2022-1-8","未发现不合格","----"]
[5,"广州炬智贸易有限公司","广州市番禺区钟村街雄峰城S-31南一街76号商铺101房","苏州欧普照明有限公司","吴江市汾湖经济开发区汾杨路东侧","LED筒灯","----","LTD0151401","2021-08-03","未发现不合格","----"]
[6,"广州炬智贸易有限公司","广州市番禺区钟村街雄峰城S-31南一街76号商铺101房","苏州欧普照明有限公司","吴江市汾湖经济开发区汾杨路东侧","LED筒灯","----","LTD0130601","2023-04-27","未发现不合格","----"]
[7,"广州鸿靓贸易有限公司","广州市白云区新市街黄石西路428号之三18号商铺","广东三雄极光照明股份有限公司","广东省广州市番禺区石壁街石洲中路240号发现广场1202","星韵系列LED筒灯","----","PAK560392","2022.10","未发现不合格","----"]
[8,"广州市白云区黄石骏海通五金交电商行","广州市白云区黄石西路233号B161铺(自主申报)","江门市虹鹏照明电器有限公司","江门市江海区高新东路189号","年轮系列LED超亮筒灯","虹鹏照明","HP-NL 18W","----","严重不合格","外部接线和内部接线（电源连接方法、外部接线截面积内部接线截面积）"]