{"text_format":"3","workbook":"xlsx","n_sheets":1,"sheets":["Sheet1"],"read":"whole","date_system":"1900"}

{"sheet":"Sheet1","index":0,"n_rows":5,"n_cols":12,"rows_kept":5,"merged":[[0,0,0,11]]}
["2023年广州市可燃气体探测器产品质量专项监督抽查结果"]
["序号","被抽查市场主体名称","被抽样市场主体地址","生产单位名称\n（标称）","生产单位地址（标称）","产品名称","商标\n（标称）","规格型号","生产日期/批号","综合判定","不合格项目","备注"]
[1,"广州豪安科技有限公司","广州市番禺区沙头街禺山西路681号301室","汉威科技集团股份有限公司","郑州高新开发区雪松路169号","便携式气体检测报警仪","/","BX170","2023-07-19","未发现不合格"]
[2,"广州乐享电子有限公司","广州市黄埔区云埔三路19号自编一栋3楼302房","深圳市派安科技有限公司","深圳市宝安区石岩街道石龙社区工业二路5号海天蓝宇科技工业园1栋厂房六层七层八层","家用可燃气体探测器","/","JT-PS-8011","2022-07-01","不合格","报警动作值试验"]
[3,"广州博康电子科技有限公司","广州市天河区柯木塱新村大街1-2号C栋401房","小米通讯技术有限公司","北京市海淀区西二旗中路33号院6号楼9层019号","家用可燃气体探测器","图形商标","JT-BF-03MI/AW","2023.05、2023.04","未发现不合格"]