{"text_format":"3","workbook":"xlsx","n_sheets":1,"sheets":["Sheet1"],"read":"whole","date_system":"1900"}

{"sheet":"Sheet1","index":0,"n_rows":7,"n_cols":12,"rows_kept":7,"merged":[[0,0,0,11]]}
["2023年家用瓶装液化石油气调压器产品及其企业名单"]
["序号","被抽查市场主体名称","被抽样市场主体地址","生产单位名称（标称）","生产单位地址（标称）","产品名称","商标（标称）","规格型号","生产日期/批号","综合判定","不合格项目","备注"]
["1. ","广州市南沙区大岗宝杰家用电器店","广州市南沙区大岗镇民生路63号之3","慈溪市博特曼电器有限公司","慈溪市长河镇长丰村施家路99号","瓶装液化石油气调压器","----","JYT0.6L","2023-03-12","未发现不合格"]
["2. ","广州市南沙区大岗宝杰家用电器店","广州市南沙区大岗镇民生路63号之3","慈溪市德一阀门厂","慈溪市长河镇二横路","瓶装液化石油气调压器","----","JYT0.6L","2022-11-17","未发现不合格"]
["3. ","广州市南沙区榄核南瑞建材经营部","广州市南沙区榄核镇蔡新路361号106铺","慈溪市雄鹰阀门有限公司","浙江省慈溪市长河镇长丰村大路头路51号","瓶装液化石油气调压器","----","JYT0.6L","2022-08-15","未发现不合格"]
["4. ","广州市番禺区沙头街昆旭五金店","广州市番禺区沙头街小平村银平路133号106","惠东县安力减压阀制造厂","惠东县多祝镇三角下营村平西公路乌石古","瓶装液化石油气调压器","----","JYT0.6","2023-04-12","未发现不合格"]
["5. ","广州市番禺区沙湾百尚生活超市店","广州市番禺区沙湾街紫坭村西安路1号105","慈溪市长河镇佳成燃气具配件厂","慈溪市长河镇垫桥村","瓶装液化石油气调压器","----","B-2型","2023-05-01","不合格","关闭压力、出口压力、机械强度"]