{"text_format":"3","workbook":"xls","n_sheets":1,"sheets":["合格单位一览表"],"not_rendered":{"external_links":1,"defined_names":2},"read":"whole","date_system":"1900","formulas":"cached_only"}

{"sheet":"合格单位一览表","index":0,"n_rows":351,"n_cols":8,"rows_kept":351,"merged":[[0,0,0,7]],"flags":["formulas_cached_only"]}
["2017年广州市游泳场所水质第一批次检测结果合格单位一览表"]
["序号","区属","检测日期","被抽检单位名称","被抽检单位地址","游泳场所类型","检测项目","全部检测项目是否合格"]
[1,"市直","2017-05-24","广州市展丰房地产开发有限公司南丰酒店分公司","广州海珠区新港东路638号南丰国际会展中心","酒店配套游泳场所","PH、细菌总数、大肠菌群、尿素、浑浊度、泳池水余氯、浸脚池水余氯","是"]
[2,"市直","2017-05-25","广州圣景房地产开发有限公司柏悦酒店分公司","广州市天河区华夏路16号53-65层","酒店配套游泳场所","PH、细菌总数、大肠菌群、尿素、浑浊度、泳池水余氯、浸脚池水余氯","是"]
[3,"市直","2017-05-31","广州国金中心酒店管理有限公司","广州市天河区珠江西路5号广州国际金融中心附楼六楼","酒店配套游泳场所","PH、细菌总数、大肠菌群、尿素、浑浊度、泳池水余氯、浸脚池水余氯","是"]
[4,"市直","2017-06-06","中国大酒店","广州市越秀区流花路","酒店配套游泳场所","PH、细菌总数、大肠菌群、尿素、浑浊度、泳池水余氯、浸脚池水余氯","是"]
[5,"市直","2017-05-25","上海保利物业酒店管理有限公司","广州市天河北路233号","酒店配套游泳场所","PH、细菌总数、大肠菌群、尿素、浑浊度、泳池水余氯、浸脚池水余氯","是"]
[6,"市直","2017-05-24","广州市京穗房地产开发有限公司圣丰索菲特大酒店","广州大道中988号","酒店配套游泳场所","PH、细菌总数、大肠菌群、尿素、浑浊度、泳池水余氯、浸脚池水余氯","是"]
[7,"市直","2017-06-06","广州君誉酒店投资有限公司希尔顿酒店","广州市林和西横路215号","酒店配套游泳场所","PH、细菌总数、大肠菌群、尿素、浑浊度、泳池水余氯、浸脚池水余氯","是"]
[8,"市直","2017-05-23","广州花园酒店有限公司","广州市越秀区环市东路368号","酒店配套游泳场所","PH、细菌总数、大肠菌群、尿素、浑浊度、泳池水余氯、浸脚池水余氯","是"]
[9,"市直","2017-05-26","广东国际大厦实业有限公司广州中心皇冠假日酒店","广州市越秀区环市东路339号","酒店配套游泳场所","PH、细菌总数、大肠菌群、尿素、浑浊度、泳池水余氯、浸脚池水余氯","是"]
[10,"越秀","2017-04-27","广州麓湖高尔夫球乡村俱乐部","广州市越秀区麓湖路麓湖公园","酒店配套游泳场所","PH、细菌总数、大肠菌群、尿素、浑浊度、泳池水余氯、浸脚池水余氯","是"]
[11,"越秀","2017-05-02","广州市奥龙堡体育发展有限公司","广州市越秀区越秀中路135-149号单号","游泳场馆","PH、细菌总数、大肠菌群、尿素、浑浊度、泳池水余氯、浸脚池水余氯","是"]
[12,"越秀","2017-05-03","广州军区空军直属机关幼儿园","广州市天河路47号","学校游泳场所","PH、细菌总数、大肠菌群、尿素、浑浊度、泳池水余氯、浸脚池水余氯","是"]
[13,"越秀","2017-05-03","广东省艾力斯体育健身运动中心","广州市越秀区恒福路117号康乐楼一、二楼","游泳场馆","PH、细菌总数、大肠菌群、尿素、浑浊度、泳池水余氯、浸脚池水余氯","是"]
[14,"越秀","2017-05-04","广州市少年宫","广东省广州市越秀区东风西路167号","游泳场馆","PH、细菌总数、大肠菌群、尿素、浑浊度、泳池水余氯、浸脚池水余氯","是"]
[15,"越秀","2017-05-04","广州佳得健健身有限公司","广州市越秀区中山二路92号自编之6","游泳场馆","PH、细菌总数、大肠菌群、尿素、浑浊度、泳池水余氯、浸脚池水余氯","是"]
[16,"越秀","2017-05-04","广州大厦","广州市越秀区北京路374号","酒店配套游泳场所","PH、细菌总数、大肠菌群、尿素、浑浊度、泳池水余氯、浸脚池水余氯","是"]
[17,"越秀","2017-05-16","广州凯尚体育股份有限公司","广州市越秀区东风东路787号东发街1号首层康体中心","小区配套游泳场所","PH、细菌总数、大肠菌群、尿素、浑浊度、泳池水余氯、浸脚池水余氯","是"]
[18,"越秀","2017-05-16","保利物业发展股份有限公司","广州市越秀区建设二马路29号六楼","小区配套游泳场所","PH、细菌总数、大肠菌群、尿素、浑浊度、泳池水余氯、浸脚池水余氯","是"]
[19,"越秀","2017-05-17","广州乐百汇游乐园有限公司 ","广州市麓湖路11号麓湖公园内","游泳场馆","PH、细菌总数、大肠菌群、尿素、浑浊度、泳池水余氯、浸脚池水余氯","是"]
[20,"越秀","2017-05-17","广州市天河恒福阁物业管理有限公司","广东省广州市越秀区恒福路288号恒福阁","小区配套游泳场所","PH、细菌总数、大肠菌群、尿素、浑浊度、泳池水余氯、浸脚池水余氯","是"]
[21,"越秀","2017-05-17","广州市万科物业服务有限公司万科金色家园物业服务中心","广州市越秀区东风东路746号地下一层G-6（此证使用地址：东风东路746号万科金色家园A栋首层）","小区配套游泳场所","PH、细菌总数、大肠菌群、尿素、浑浊度、泳池水余氯、浸脚池水余氯","是"]
[22,"越秀","2017-05-17","广州三寓宾馆","广州市越秀区三育路23号","酒店配套游泳场所","PH、细菌总数、大肠菌群、尿素、浑浊度、泳池水余氯、浸脚池水余氯","是"]
[23,"越秀","2017-05-17","中海物业管理广州有限公司锦城管理处","广东省广州市越秀区梅花路34号大院22栋首层","小区配套游泳场所","PH、细菌总数、大肠菌群、尿素、浑浊度、泳池水余氯、浸脚池水余氯","是"]
[24,"越秀","2017-05-25","广州微耀商务服务有限公司","广州市白云区黄石路天云街35号101房自编1号(此证使用地址为：广州市越秀区绿荫路4号4层自编8号)","小区配套游泳场所","PH、细菌总数、大肠菌群、尿素、浑浊度、泳池水余氯、浸脚池水余氯","是"]
[25,"越秀","2017-05-25","广州金亚物业服务有限公司","广州市越秀区二沙岛大通路金亚南街9、13、17号会所内","小区配套游泳场所","PH、细菌总数、大肠菌群、尿素、浑浊度、泳池水余氯、浸脚池水余氯","是"]
[26,"越秀","2017-05-25","广州市越秀区全民健身活动中心","广州市越秀区东湖路39号","游泳场馆","PH、细菌总数、大肠菌群、尿素、浑浊度、泳池水余氯、浸脚池水余氯","是"]
[27,"越秀","2017-05-25","广州市越秀区文德路小学","广州市越秀区文德路77号","学校游泳场所","PH、细菌总数、大肠菌群、尿素、浑浊度、泳池水余氯、浸脚池水余氯","是"]
[28,"越秀","2017-05-25","广州市越秀宾馆","广州市越秀区小北路198号七楼、八至十九层","酒店配套游泳场所","PH、细菌总数、大肠菌群、尿素、浑浊度、泳池水余氯、浸脚池水余氯","是"]
[29,"越秀","2017-05-26","广州市健强体育发展有限公司","广州市越秀区大新路163号第三中学校内游泳馆","游泳场馆","PH、细菌总数、大肠菌群、尿素、浑浊度、泳池水余氯、浸脚池水余氯","是"]
[30,"越秀","2017-05-26","广州华侨大厦企业有限公司华厦大酒店","广州市越秀区侨光路8号","酒店配套游泳场所","PH、细菌总数、大肠菌群、尿素、浑浊度、泳池水余氯、浸脚池水余氯","是"]
[31,"越秀","2017-05-31","广州市华鸿物业管理有限公司","广州市越秀区淘金东横路1号","小区配套游泳场所","PH、细菌总数、大肠菌群、尿素、浑浊度、泳池水余氯、浸脚池水余氯","是"]
[32,"越秀","2017-06-05","广东新白云宾馆有限公司","广州市越秀区环市东路367号","酒店配套游泳场所","PH、细菌总数、大肠菌群、尿素、浑浊度、泳池水余氯、浸脚池水余氯","是"]
[33,"越秀","2017-06-05","广东外商活动中心","广州市越秀区广州大道中293号","酒店配套游泳场所","PH、细菌总数、大肠菌群、尿素、浑浊度、泳池水余氯、浸脚池水余氯","是"]
[34,"越秀","2017-06-06","广州市景兴物业管理有限公司凯旋分公司","广州市越秀区明月一路11-23号凯旋会花园西北角","小区配套游泳场所","PH、细菌总数、大肠菌群、尿素、浑浊度、泳池水余氯、浸脚池水余氯","是"]
[35,"越秀","2017-06-06","广州凯旋大酒店有限公司凯旋华美达大酒店","广州市越秀区明月一路九号","酒店配套游泳场所","PH、细菌总数、大肠菌群、尿素、浑浊度、泳池水余氯、浸脚池水余氯","是"]
[36,"越秀","2017-05-10","广州市越秀区净慧体校","广东省广州市越秀区祝寿巷11号","学校游泳场所","PH、细菌总数、大肠菌群、尿素、浑浊度、泳池水余氯、浸脚池水余氯","是"]
[37,"越秀","2017-05-10","广州市越秀区净慧体校","广东省广州市越秀区净慧路90号","学校游泳场所","PH、细菌总数、大肠菌群、尿素、浑浊度、泳池水余氯、浸脚池水余氯","是"]
[38,"海珠","2017-05-23","广州珀丽酒店有限公司","广州市海珠区江南大道中348号","酒店配套游泳场所","PH、细菌总数、大肠菌群、尿素、浑浊度、泳池水余氯、浸脚池水余氯","是"]
[39,"海珠","2017-05-23","中远海运（广州）有限公司海员宾馆广海游泳场","广州市海珠区江南大道中218号后座","酒店配套游泳场所","PH、细菌总数、大肠菌群、尿素、浑浊度、泳池水余氯、浸脚池水余氯","是"]
[40,"海珠","2017-05-23","广州崴帝斯健身有限公司第二分公司","广州市海珠区江南大道中穗花二巷1-2号首层自编之一、二，二层","游泳场馆","PH、细菌总数、大肠菌群、尿素、浑浊度、泳池水余氯、浸脚池水余氯","是"]
[41,"海珠","2017-05-23","广州市海珠区实验小学游泳池","广州市海珠区江南大道中穗花邨穗花南街14号","学校游泳场所","PH、细菌总数、大肠菌群、尿素、浑浊度、泳池水余氯、浸脚池水余氯","是"]
[42,"海珠","2017-05-23","广州市海珠区汇源大街小学游泳池","广州市海珠区汇源大街24号","学校游泳场所","PH、细菌总数、大肠菌群、尿素、浑浊度、泳池水余氯、浸脚池水余氯","是"]
[43,"海珠","2017-05-23","中海物业管理广州有限公司游泳池","广州市海珠区工业大道122号光大花园自编K区","小区配套游泳场所","PH、细菌总数、大肠菌群、尿素、浑浊度、泳池水余氯、浸脚池水余氯","是"]
[44,"海珠","2017-05-23","广州市海珠区宝玉直实验小学游泳池","广州市海珠区工业大道北水榕三街13号","学校游泳场所","PH、细菌总数、大肠菌群、尿素、浑浊度、泳池水余氯、浸脚池水余氯","是"]
[45,"海珠","2017-05-23","中海物业管理广州有限公司中海锦苑物业管理处","广州市海珠区滨江东路961号首层自编101","小区配套游泳场所","PH、细菌总数、大肠菌群、尿素、浑浊度、泳池水余氯、浸脚池水余氯","是"]
[46,"海珠","2017-05-23","广东新南方物业管理有限公司","广州市海珠区滨江东路835号","小区配套游泳场所","PH、细菌总数、大肠菌群、尿素、浑浊度、泳池水余氯、浸脚池水余氯","是"]
[47,"海珠","2017-05-23","广州领江会物业有限公司金海湾花园游泳场","广州市海珠区滨江东路189号四楼","小区配套游泳场所","PH、细菌总数、大肠菌群、尿素、浑浊度、泳池水余氯、浸脚池水余氯","是"]
[48,"海珠","2017-05-23","广东元邦物业管理有限公司元邦明月园小区游泳池","广州市海珠区赤岗东路231号元邦明月园小区内","小区配套游泳场所","PH、细菌总数、大肠菌群、尿素、浑浊度、泳池水余氯、浸脚池水余氯","是"]
[49,"海珠","2017-05-23","广州珠江投资发展有限公司","广州市海珠区玉菡路26号402房","酒店配套游泳场所","PH、细菌总数、大肠菌群、尿素、浑浊度、泳池水余氯、浸脚池水余氯","是"]
[50,"海珠","2017-05-23","广州莱佛士物业服务有限公司中新分公司汇美景台游泳池","广州市海珠区滨江东路927-937号","小区配套游泳场所","PH、细菌总数、大肠菌群、尿素、浑浊度、泳池水余氯、浸脚池水余氯","是"]
[51,"海珠","2017-05-23","广州一洲物业管理有限公司","广州市海珠区新港东路1068号中洲中心五楼游泳池","小区配套游泳场所","PH、细菌总数、大肠菌群、尿素、浑浊度、泳池水余氯、浸脚池水余氯","是"]
[52,"海珠","2017-05-24","中海物业管理广州有限公司中海名都花园管理处","广州市海珠区纺织路名都一街5号首层露天","小区配套游泳场所","PH、细菌总数、大肠菌群、尿素、浑浊度、泳池水余氯、浸脚池水余氯","是"]
[53,"海珠","2017-05-24","保利物业管理有限公司康之桥大厦游泳池","广州市海珠区滨江中路警安街3号5楼","小区配套游泳场所","PH、细菌总数、大肠菌群、尿素、浑浊度、泳池水余氯、浸脚池水余氯","是"]
[54,"海珠","2017-05-24","广州市富基物业管理有限公司泳池","广州市海珠区南华东路富基南二街23号首层自编101号","小区配套游泳场所","PH、细菌总数、大肠菌群、尿素、浑浊度、泳池水余氯、浸脚池水余氯","是"]
[55,"海珠","2017-05-24","广州市海珠区宝岗体育场","广州市海珠区宝岗路新凤祥大街93号","游泳场馆","PH、细菌总数、大肠菌群、尿素、浑浊度、泳池水余氯、浸脚池水余氯","是"]
[56,"海珠","2017-05-24","广州市第五中学游泳池","广州市海珠区南村路32号","学校游泳场所","PH、细菌总数、大肠菌群、尿素、浑浊度、泳池水余氯、浸脚池水余氯","是"]
[57,"海珠","2017-05-24","保利物业管理有限公司海棠花园游泳池","广州市海珠区江燕路北海棠花园小区内","小区配套游泳场所","PH、细菌总数、大肠菌群、尿素、浑浊度、泳池水余氯、浸脚池水余氯","是"]
[58,"海珠","2017-05-24","广州市斯泊体育发展有限公司","广州市海珠区江燕路南景街38号旁会所泳池","小区配套游泳场所","PH、细菌总数、大肠菌群、尿素、浑浊度、泳池水余氯、浸脚池水余氯","是"]
[59,"海珠","2017-05-24","广州广电物业管理有限公司兰亭御园游泳池","广州市海珠区南华中路御园街13号兰亭御园内","小区配套游泳场所","PH、细菌总数、大肠菌群、尿素、浑浊度、泳池水余氯、浸脚池水余氯","是"]
[60,"海珠","2017-05-24","广州市万科物业服务有限公司万科金域华庭物业服务中心游泳池","广州市海珠区同福西路201号之8金域华庭内","小区配套游泳场所","PH、细菌总数、大肠菌群、尿素、浑浊度、泳池水余氯、浸脚池水余氯","是"]
[61,"海珠","2017-05-24","广州市海珠区新海游泳场","广州市海珠区新港西路25号","学校游泳场所","PH、细菌总数、大肠菌群、尿素、浑浊度、泳池水余氯、浸脚池水余氯","是"]
[62,"海珠","2017-05-25","广州市海珠区江畔游泳池","广州市海珠区滨江东路61号自编之1","小区配套游泳场所","PH、细菌总数、大肠菌群、尿素、浑浊度、泳池水余氯、浸脚池水余氯","是"]
[63,"海珠","2017-05-25","中山大学南校区游泳池","广州市海珠区新港西路135号大院中山大学南校区东北区315号","学校游泳场所","PH、细菌总数、大肠菌群、尿素、浑浊度、泳池水余氯、浸脚池水余氯","是"]
[64,"海珠","2017-05-25","广州珠江运盛酒店管理有限公司","广州市海珠区惠纺街6号七楼","酒店配套游泳场所","PH、细菌总数、大肠菌群、尿素、浑浊度、泳池水余氯、浸脚池水余氯","是"]
[65,"海珠","2017-05-25","广州市海珠区客村小学游泳池","广州市海珠区广州大道南702-706号","学校游泳场所","PH、细菌总数、大肠菌群、尿素、浑浊度、泳池水余氯、浸脚池水余氯","是"]
[66,"海珠","2017-05-25","广州市力都体育场服务有限公司","广州市海珠区碧映路530号B栋","游泳场馆","PH、细菌总数、大肠菌群、尿素、浑浊度、泳池水余氯、浸脚池水余氯","是"]
[67,"海珠","2017-05-25","广东省海洋工程职业技术学校游泳池","广州市海珠区赤沙路15号","学校游泳场所","PH、细菌总数、大肠菌群、尿素、浑浊度、泳池水余氯、浸脚池水余氯","是"]
[68,"海珠","2017-05-25","广州嘉邦酒店物业服务有限公司海珠第一分公司","广州市海珠区海逸街7、9、11号102之二","小区配套游泳场所","PH、细菌总数、大肠菌群、尿素、浑浊度、泳池水余氯、浸脚池水余氯","是"]
[69,"海珠","2017-05-25","广州市海珠区万松园小学游泳场","广州市海珠区云桂大街1号","学校游泳场所","PH、细菌总数、大肠菌群、尿素、浑浊度、泳池水余氯、浸脚池水余氯","是"]
[70,"海珠","2017-05-25","广州市海珠区江南新村第二小学游泳池","广州市海珠区江南西路紫玉大街18号内","学校游泳场所","PH、细菌总数、大肠菌群、尿素、浑浊度、泳池水余氯、浸脚池水余氯","是"]
[71,"海珠","2017-05-25","广州市海珠区晓苑游泳场","广州市海珠区东晓南路晓港湾商住区明华苑内","小区配套游泳场所","PH、细菌总数、大肠菌群、尿素、浑浊度、泳池水余氯、浸脚池水余氯","是"]
[72,"海珠","2017-05-25","佛山市泳健体育场所管理有限公司南洲名苑游泳池","广州市海珠区南洲路南洲名苑小区内","小区配套游泳场所","PH、细菌总数、大肠菌群、尿素、浑浊度、泳池水余氯、浸脚池水余氯","是"]
[73,"海珠","2017-05-25","佛山市泳健体育场所管理有限公司锦绣花园游泳池","广州市海珠区东晓南路锦绣花园小区内","小区配套游泳场所","PH、细菌总数、大肠菌群、尿素、浑浊度、泳池水余氯、浸脚池水余氯","是"]
[74,"海珠","2017-05-26","广州珠光物业管理有限公司珠江御景湾小区会所室外泳池","广州市海珠区南洲路珠江御景湾小区会所背面","小区配套游泳场所","PH、细菌总数、大肠菌群、尿素、浑浊度、泳池水余氯、浸脚池水余氯","是"]
[75,"海珠","2017-05-26","广州市时代物业管理有限公司时代廊桥小区游泳池","广州市海珠区广州大道南洲路廊桥一至三街","小区配套游泳场所","PH、细菌总数、大肠菌群、尿素、浑浊度、泳池水余氯、浸脚池水余氯","是"]
[76,"海珠","2017-05-26","广州市海珠区南武实验小学游泳池","广州市海珠区南洲路珠江御景湾博景街3号教学大楼一楼","学校游泳场所","PH、细菌总数、大肠菌群、尿素、浑浊度、泳池水余氯、浸脚池水余氯","是"]
[77,"海珠","2017-05-26","广州市海珠区卫国尧纪念小学游泳池","广州市海珠区南洲路沥滘5约后街5号","学校游泳场所","PH、细菌总数、大肠菌群、尿素、浑浊度、泳池水余氯、浸脚池水余氯","是"]
[78,"海珠","2017-05-26","广州市海珠区前进路小学游泳馆","广州市海珠区素社直街42号","学校游泳场所","PH、细菌总数、大肠菌群、尿素、浑浊度、泳池水余氯、浸脚池水余氯","是"]
[79,"荔湾","2017-05-17","广州韦特物业管理服务有限公司","广州荔湾区花地大道喜鹊路271—275号","小区配套游泳场所","PH、细菌总数、大肠菌群、尿素、浑浊度、泳池水余氯、浸脚池水余氯","是"]
[80,"荔湾","2017-05-10","广州市荔湾区西郊游泳场","广州市荔湾区黄沙大道粤南大街3号","游泳场馆","PH、细菌总数、大肠菌群、尿素、浑浊度、泳池水余氯、浸脚池水余氯","是"]
[81,"荔湾","2017-05-17","广州嘉邦酒店物业服务有限公司四季花园会所","广州市荔湾区花地大道中雨菊街15-17号","小区配套游泳场所","PH、细菌总数、大肠菌群、尿素、浑浊度、泳池水余氯、浸脚池水余氯","是"]
[82,"荔湾","2017-05-10","家利物业管理（广州）有限公司逸翠湾分公司","广州市荔湾区黄沙大道20、22号逸翠湾会所","小区配套游泳场所","PH、细菌总数、大肠菌群、尿素、浑浊度、泳池水余氯、浸脚池水余氯","是"]
[83,"荔湾","2017-05-11","广州市万科物业服务有限公司万科金色荔苑物业服务中心","广州市荔湾区龙津中路520号01房","小区配套游泳场所","PH、细菌总数、大肠菌群、尿素、浑浊度、泳池水余氯、浸脚池水余氯","是"]
[84,"荔湾","2017-05-17","广州域拓教育信息咨询有限公司","广州市荔湾区龙溪路中国铁建荔湾国际城（A地块）","小区配套游泳场所","PH、细菌总数、大肠菌群、尿素、浑浊度、泳池水余氯、浸脚池水余氯","是"]
[85,"荔湾","2017-05-22","广州龙安体育有限公司","广州市荔湾区龙溪中路东漖桥头","游泳场馆","PH、细菌总数、大肠菌群、尿素、浑浊度、泳池水余氯、浸脚池水余氯","是"]
[86,"荔湾","2017-05-17","广州花力运动俱乐部有限公司","广州市荔湾区芳村大道189号","游泳场馆","PH、细菌总数、大肠菌群、尿素、浑浊度、泳池水余氯、浸脚池水余氯","是"]
[87,"荔湾","2017-05-11","广州市荔湾区青少年业余体校","广州市荔湾区中山七路330号","游泳场馆","PH、细菌总数、大肠菌群、尿素、浑浊度、泳池水余氯、浸脚池水余氯","是"]
[88,"荔湾","2017-05-17","广州市荔湾区万科物业服务有限公司万科金色康苑物业服务中心","广州市荔湾区康王北路1081号五楼","小区配套游泳场所","PH、细菌总数、大肠菌群、尿素、浑浊度、泳池水余氯、浸脚池水余氯","是"]
[89,"荔湾","2017-05-22","港联物业（广州）有限公司","广州市荔湾区中山七路52-58号三楼平台","小区配套游泳场所","PH、细菌总数、大肠菌群、尿素、浑浊度、泳池水余氯、浸脚池水余氯","是"]
[90,"荔湾","2017-05-10","广州市万科物业服务有限公司万科金域华府物业服务中心","广州市荔湾区康王中路330-334号","小区配套游泳场所","PH、细菌总数、大肠菌群、尿素、浑浊度、泳池水余氯、浸脚池水余氯","是"]
[91,"荔湾","2017-05-11","广州市强人体育发展有限公司","广州市荔湾区环市西路7号内自编3号","游泳场馆","PH、细菌总数、大肠菌群、尿素、浑浊度、泳池水余氯、浸脚池水余氯","是"]
[92,"荔湾","2017-05-17","广州市万科物业服务有限公司柏悦湾物业服务中心","广州市荔湾区坦尾南路柏瑞巷9号","小区配套游泳场所","PH、细菌总数、大肠菌群、尿素、浑浊度、泳池水余氯、浸脚池水余氯","是"]
[93,"荔湾","2017-05-22","广州海角红楼游泳场","广州市荔湾区桥中街红楼路9号","游泳场馆","PH、细菌总数、大肠菌群、尿素、浑浊度、泳池水余氯、浸脚池水余氯","是"]
[94,"荔湾","2017-05-10","广州市沙面体育俱乐部","广州市荔湾区沙面北街51号","游泳场馆","PH、细菌总数、大肠菌群、尿素、浑浊度、泳池水余氯、浸脚池水余氯","是"]
[95,"荔湾","2017-05-10","广州锦日物业服务有限公司逸彩分公司","广州市荔湾区芳村大道西芳兴路逸彩庭园盛彩街2号","小区配套游泳场所","PH、细菌总数、大肠菌群、尿素、浑浊度、泳池水余氯、浸脚池水余氯","是"]
[96,"荔湾","2017-05-11","广州城建开发物业有限公司岭南新苑服务中心","广州市荔湾区西湾路湾畔大街33号","小区配套游泳场所","PH、细菌总数、大肠菌群、尿素、浑浊度、泳池水余氯、浸脚池水余氯","是"]
[97,"荔湾","2017-05-11","广州腾辉体育发展有限公司","广州市荔湾区彭城路28号","游泳场馆","PH、细菌总数、大肠菌群、尿素、浑浊度、泳池水余氯、浸脚池水余氯","是"]
[98,"荔湾","2017-05-11","广州十甫假日酒店有限公司","广州市荔湾区第十甫路188号","酒店配套游泳场所","PH、细菌总数、大肠菌群、尿素、浑浊度、泳池水余氯、浸脚池水余氯","是"]
[99,"荔湾","2017-05-17","广东胜利宾馆**","沙面北街53、55号，沙面大街54、56号","酒店配套游泳场所","PH、细菌总数、大肠菌群、尿素、浑浊度、泳池水余氯、浸脚池水余氯","是"]
[100,"天河","2017-05-03","广州市奥冠体育发展有限公司","广州市天河区中山大道天河公园内游泳池","游泳场馆","PH、细菌总数、大肠菌群、尿素、浑浊度、泳池水余氯、浸脚池水余氯","是"]
[101,"天河","2017-05-03","广州市至安物业管理有限公司","广州市天河区员村二横路1号","小区配套游泳场所","PH、细菌总数、大肠菌群、尿素、浑浊度、泳池水余氯、浸脚池水余氯","是"]
[102,"天河","2017-05-03","广州市奥力健身俱乐部有限公司","广州市天河区员村二横路2号员村工人文化宫","游泳场馆","PH、细菌总数、大肠菌群、尿素、浑浊度、泳池水余氯、浸脚池水余氯","是"]
[103,"天河","2017-05-04","广东天河城（集团）股份有限公司粤海喜来登酒店分公司","广州市天河区天河路208号","酒店配套游泳场所","PH、细菌总数、大肠菌群、尿素、浑浊度、泳池水余氯、浸脚池水余氯","是"]
[104,"天河","2017-05-04","正佳企业集团有限公司正佳广场万豪酒店分公司","广州市天河路228号正佳广场西塔楼","酒店配套游泳场所","PH、细菌总数、大肠菌群、尿素、浑浊度、泳池水余氯、浸脚池水余氯","是"]
[105,"天河","2017-05-10","中油阳光物业管理有限公司广州阳光酒店分公司","广州市天河区黄埔大道中199号","酒店配套游泳场所","PH、细菌总数、大肠菌群、尿素、浑浊度、泳池水余氯、浸脚池水余氯","是"]
[106,"天河","2017-05-10","广州市天河区体育东路小学","广州市天河区体育东路六运六街9号","学校游泳场所","PH、细菌总数、大肠菌群、尿素、浑浊度、泳池水余氯、浸脚池水余氯","是"]
[107,"天河","2017-05-10","广州卓著物业管理有限公司","广州市天河区天河路230-232号","小区配套游泳场所","PH、细菌总数、大肠菌群、尿素、浑浊度、泳池水余氯、浸脚池水余氯","是"]
[108,"天河","2017-05-11","广东国林珍稀植物培育中心凤凰山宾馆","广州市天河区龙眼洞林场内","酒店配套游泳场所","PH、细菌总数、大肠菌群、尿素、浑浊度、泳池水余氯、浸脚池水余氯","是"]
[109,"天河","2017-05-11","广州市创浚物业管理有限公司宝翠园分公司","广州市天河区宝乐街1号","小区配套游泳场所","PH、细菌总数、大肠菌群、尿素、浑浊度、泳池水余氯、浸脚池水余氯","是"]
[110,"天河","2017-05-11","广州市工人疗养院","广州市天河区沙河龙洞三宝墟","酒店配套游泳场所","PH、细菌总数、大肠菌群、尿素、浑浊度、泳池水余氯、浸脚池水余氯","是"]
[111,"天河","2017-05-18","广州凯旋国际餐饮管理有限公司","广州市天河区清风街1-48号1号第6层、2号1-6层","小区配套游泳场所","PH、细菌总数、大肠菌群、尿素、浑浊度、泳池水余氯、浸脚池水余氯","是"]
[112,"天河","2017-05-18","广州锦日物业服务有限公司","广州市珠江新城花城大道清风北街14号首层","小区配套游泳场所","PH、细菌总数、大肠菌群、尿素、浑浊度、泳池水余氯、浸脚池水余氯","是"]
[113,"天河","2017-05-18","广州锦日物业服务有限公司","广州市天河区珠江新城海清路清风南街13号首层","小区配套游泳场所","PH、细菌总数、大肠菌群、尿素、浑浊度、泳池水余氯、浸脚池水余氯","是"]
[114,"天河","2017-05-22","广州市嘉逸国际酒店有限公司","广州市天河区天河北路468号","酒店配套游泳场所","PH、细菌总数、大肠菌群、尿素、浑浊度、泳池水余氯、浸脚池水余氯","是"]
[115,"天河","2017-05-23","广州市合景领峰园酒店管理有限公司威景酒店","广州市天河区冼村路26号","酒店配套游泳场所","PH、细菌总数、大肠菌群、尿素、浑浊度、泳池水余氯、浸脚池水余氯","是"]
[116,"天河","2017-05-23","广州富力鼎盛置业发展有限公司富力君悦大酒店分公司","广州市天河区珠江新城珠江西路12号","酒店配套游泳场所","PH、细菌总数、大肠菌群、尿素、浑浊度、泳池水余氯、浸脚池水余氯","是"]
[117,"天河","2017-05-24","广州市方圆商业物业经营有限公司方圆大厦公寓管理中心","广州市天河区体育东路28号","酒店配套游泳场所","PH、细菌总数、大肠菌群、尿素、浑浊度、泳池水余氯、浸脚池水余氯","是"]
[118,"天河","2017-05-24","广州天河体育中心游泳馆","广州市天河区天河路299号天河体育中心内","游泳场馆","PH、细菌总数、大肠菌群、尿素、浑浊度、泳池水余氯、浸脚池水余氯","是"]
[119,"天河","2017-05-24","广州市天河区天河古德健身馆","广州市天河区天河路299号健身拳击中心自编一","游泳场馆","PH、细菌总数、大肠菌群、尿素、浑浊度、泳池水余氯、浸脚池水余氯","是"]
[120,"天河","2017-05-26","广州富力恒盛置业发展有限公司富力丽思卡尔顿酒店分公司","广州市天河区兴安路3号","酒店配套游泳场所","PH、细菌总数、大肠菌群、尿素、浑浊度、泳池水余氯、浸脚池水余氯","是"]
[121,"天河","2017-05-26","保利心语花园物业服务中心","广州市天河区珠江新城金穗路70号","小区配套游泳场所","PH、细菌总数、大肠菌群、尿素、浑浊度、泳池水余氯、浸脚池水余氯","是"]
[122,"天河","2017-05-26","广州微耀商务服务有限公司","珠江新城花城大道55号之一","小区配套游泳场所","PH、细菌总数、大肠菌群、尿素、浑浊度、泳池水余氯、浸脚池水余氯","是"]
[123,"天河","2017-05-26","广州文成物业管理有限公司","广州市天河区中山大道264号","小区配套游泳场所","PH、细菌总数、大肠菌群、尿素、浑浊度、泳池水余氯、浸脚池水余氯","是"]
[124,"天河","2017-05-26","广州市美林基业物业管理有限公司（美林湖畔花园游泳池）","广州市天河区桃园中路339号","小区配套游泳场所","PH、细菌总数、大肠菌群、尿素、浑浊度、泳池水余氯、浸脚池水余氯","是"]
[125,"天河","2017-05-31","广州市粤垦房地产开发有限公司","广州市天河区粤垦路观峰北街8、10、12号","小区配套游泳场所","PH、细菌总数、大肠菌群、尿素、浑浊度、泳池水余氯、浸脚池水余氯","是"]
[126,"天河","2017-05-31","广州燕塘房地产开发有限公司新燕会所","广州市天河区燕塘路24号","小区配套游泳场所","PH、细菌总数、大肠菌群、尿素、浑浊度、泳池水余氯、浸脚池水余氯","是"]
[127,"天河","2017-05-31","广州首旅建国酒店有限公司","广州天河区林和中路172号","酒店配套游泳场所","PH、细菌总数、大肠菌群、尿素、浑浊度、泳池水余氯、浸脚池水余氯","是"]
[128,"天河","2017-05-31","广州市城建天誉房地产开发有限公司威斯汀酒店","广州市天河区林和中路6号","酒店配套游泳场所","PH、细菌总数、大肠菌群、尿素、浑浊度、泳池水余氯、浸脚池水余氯","是"]
[129,"天河","2017-06-01","广州城建开发物业有限公司星汇园服务中心","广州市天河区珠江新城华明路29-43号（单号）","小区配套游泳场所","PH、细菌总数、大肠菌群、尿素、浑浊度、泳池水余氯、浸脚池水余氯","是"]
[130,"天河","2017-06-01","广州市天河中学珠江新城校区","广州市天河区华成路7号","学校游泳场所","PH、细菌总数、大肠菌群、尿素、浑浊度、泳池水余氯、浸脚池水余氯","是"]
[131,"天河","2017-06-01","广州幼儿师范学校","天河区林和街沾益直街121号","学校游泳场所","PH、细菌总数、大肠菌群、尿素、浑浊度、泳池水余氯、浸脚池水余氯","是"]
[132,"天河","2017-06-01","保利物业管理有限公司广州香槟花园物业服务中心","广州市天河区华利路46-62号保利香槟花园（室外）","小区配套游泳场所","PH、细菌总数、大肠菌群、尿素、浑浊度、泳池水余氯、浸脚池水余氯","是"]
[133,"天河","2017-06-05","广东金融学院","广东省广州市天河区龙洞迎福路527号","学校游泳场所","PH、细菌总数、大肠菌群、尿素、浑浊度、泳池水余氯、浸脚池水余氯","是"]
[134,"天河","2017-06-05","广东实验中学附属天河学校","广州市天河区天源路399号","学校游泳场所","PH、细菌总数、大肠菌群、尿素、浑浊度、泳池水余氯、浸脚池水余氯","是"]
[135,"天河","2017-06-06","中海物业管理广州有限公司中海康城管理处","广州市天河区广园快速路东圃路段中海康城花园铃兰街7号首层","小区配套游泳场所","PH、细菌总数、大肠菌群、尿素、浑浊度、泳池水余氯、浸脚池水余氯","是"]
[136,"天河","2017-06-06","广州普锐斯体育发展有限公司","广州市天河区黄村育英路35号","游泳场馆","PH、细菌总数、大肠菌群、尿素、浑浊度、泳池水余氯、浸脚池水余氯","是"]
[137,"天河","2017-06-06","广州臻诚体育发展有限公司","天河区吉山西机新街102号101","游泳场馆","PH、细菌总数、大肠菌群、尿素、浑浊度、泳池水余氯、浸脚池水余氯","是"]
[138,"天河","2017-06-06","广州市建都物业管理有限公司","天河区北桥林街59-68号","小区配套游泳场所","PH、细菌总数、大肠菌群、尿素、浑浊度、泳池水余氯、浸脚池水余氯","是"]
[139,"天河","2017-06-06","广州星瑞物业管理有限公司","广州市天河区天寿路31号","小区配套游泳场所","PH、细菌总数、大肠菌群、尿素、浑浊度、泳池水余氯、浸脚池水余氯","是"]
[140,"天河","2017-06-07","广州市时代物业管理有限公司","广州市天河区沙河路银利街35号","小区配套游泳场所","PH、细菌总数、大肠菌群、尿素、浑浊度、泳池水余氯、浸脚池水余氯","是"]
[141,"天河","2017-06-07","广州懿德体育发展有限公司","广州市天河区林和中路150-160号天誉花园一期游泳池","小区配套游泳场所","PH、细菌总数、大肠菌群、尿素、浑浊度、泳池水余氯、浸脚池水余氯","是"]
[142,"天河","2017-06-07","北京世邦魏理仕物业管理服务有限公司广州分公司","广州市天河区天河北路620号瑞安创逸雅苑","小区配套游泳场所","PH、细菌总数、大肠菌群、尿素、浑浊度、泳池水余氯、浸脚池水余氯","是"]
[143,"天河","2017-06-07","广州星瑞物业管理有限公司","广州市天河区龙怡路115号-117号银汇华庭","小区配套游泳场所","PH、细菌总数、大肠菌群、尿素、浑浊度、泳池水余氯、浸脚池水余氯","是"]
[144,"天河","2017-06-07","广州瑞银数码港酒店有限公司日航酒店分公司","广州市天河区华观路1961号","酒店配套游泳场所","PH、细菌总数、大肠菌群、尿素、浑浊度、泳池水余氯、浸脚池水余氯","是"]
[145,"天河","2017-06-08","广州懿德体育发展有限公司","广州市天河区珠吉路富通街5号宫翠屏富通雅苑","小区配套游泳场所","PH、细菌总数、大肠菌群、尿素、浑浊度、泳池水余氯、浸脚池水余氯","是"]
[146,"天河","2017-06-08","广州城建开发物业有限公司星汇雅苑服务中心","广州市天河区潭村路12-16号","小区配套游泳场所","PH、细菌总数、大肠菌群、尿素、浑浊度、泳池水余氯、浸脚池水余氯","是"]
[147,"天河","2017-06-08","广州懿德体育发展有限公司","广州市天河区石牌东路阳光都会广场","小区配套游泳场所","PH、细菌总数、大肠菌群、尿素、浑浊度、泳池水余氯、浸脚池水余氯","是"]
[148,"天河","2017-06-08","广州城建开发物业有限公司","广州市天河区天河东路华康街17号首层名雅苑服务中心","小区配套游泳场所","PH、细菌总数、大肠菌群、尿素、浑浊度、泳池水余氯、浸脚池水余氯","是"]
[149,"天河","2017-06-12","广州市嘉逸皇冠酒店有限公司","广州市天河区中山大道中483号","酒店配套游泳场所","PH、细菌总数、大肠菌群、尿素、浑浊度、泳池水余氯、浸脚池水余氯","是"]
[150,"天河","2017-06-12","广州同润房地产开发有限公司佛奥广场威珀斯酒店分公司","广州市天河区珠江新城金穗路5号5层，17-28层（轴D-G交轴3-8部分）","酒店配套游泳场所","PH、细菌总数、大肠菌群、尿素、浑浊度、泳池水余氯、浸脚池水余氯","是"]
[151,"天河","2017-06-13","广州市康盛物业管理有限公司","广州市天河区假日北街6号","小区配套游泳场所","PH、细菌总数、大肠菌群、尿素、浑浊度、泳池水余氯、浸脚池水余氯","是"]
[152,"天河","2017-06-13","工业和信息化部电子第五研究所工会委员会","广州市天河区东莞庄路110号37栋","游泳场馆","PH、细菌总数、大肠菌群、尿素、浑浊度、泳池水余氯、浸脚池水余氯","是"]
[153,"白云","2017-05-22","广州市穗丰服务有限公司","广州市白云区同泰路竹韵山庄竹韵径13号","小区配套游泳场所","PH、细菌总数、大肠菌群、尿素、浑浊度、泳池水余氯、浸脚池水余氯","是"]
[154,"白云","2017-05-22","广州大河马水上游乐园管理有限公司","广州市白云区同和路783号自编1号","游泳场馆","PH、细菌总数、大肠菌群、尿素、浑浊度、泳池水余氯、浸脚池水余氯","是"]
[155,"白云","2017-05-22","广州正域物业服务有限公司 ","广州市白云区黄石北路137-157号白云尚城逸湖居B栋首层","小区配套游泳场所","PH、细菌总数、大肠菌群、尿素、浑浊度、泳池水余氯、浸脚池水余氯","是"]
[156,"白云","2017-05-23","广州市白云区华成综合贸易服务公司","广州市白云区广从一路329号","游泳场馆","PH、细菌总数、大肠菌群、尿素、浑浊度、泳池水余氯、浸脚池水余氯","是"]
[157,"白云","2017-05-23","广州市方圆人家体育有限公司（荷塘月色物业服务中心）","广州市白云区翰云路276号负一层荷塘月色会所","小区配套游泳场所","PH、细菌总数、大肠菌群、尿素、浑浊度、泳池水余氯、浸脚池水余氯","是"]
[158,"白云","2017-05-23","广州市白云城建开发实业有限公司祥景体育娱乐中心","广州市白云区黄石路株木岭","游泳场馆","PH、细菌总数、大肠菌群、尿素、浑浊度、泳池水余氯、浸脚池水余氯","是"]
[159,"白云","2017-05-23","广州珠江体育文化发展股份有限公司","广州市白云区白云大道南783号（广州体育馆内）","游泳场馆","PH、细菌总数、大肠菌群、尿素、浑浊度、泳池水余氯、浸脚池水余氯","是"]
[160,"白云","2017-05-23","广州泳动体育有限公司","广州市白云区龙兴路以北志记山号自编9号之一","游泳场馆","PH、细菌总数、大肠菌群、尿素、浑浊度、泳池水余氯、浸脚池水余氯","是"]
[161,"白云","2017-05-23","广州市白云区高增体育文化中心","广州市白云区人和镇106国道凤岗路自编1号","游泳场馆","PH、细菌总数、大肠菌群、尿素、浑浊度、泳池水余氯、浸脚池水余氯","是"]
[162,"白云","2017-05-24","广州市白云区帽峰游泳馆","广州市白云区头陂村四社大菜园自编80号铺","游泳场馆","PH、细菌总数、大肠菌群、尿素、浑浊度、泳池水余氯、浸脚池水余氯","是"]
[163,"白云","2017-05-24","广州市白云区富贵天游泳馆","广州市白云区太和镇头陂村第八经济合作社自编8号","游泳场馆","PH、细菌总数、大肠菌群、尿素、浑浊度、泳池水余氯、浸脚池水余氯","是"]
[164,"白云","2017-05-24","广州宜家创生物业管理有限公司富力半岛花园管理处","广州市白云区增槎路43号富力半岛花园C8栋首层","小区配套游泳场所","PH、细菌总数、大肠菌群、尿素、浑浊度、泳池水余氯、浸脚池水余氯","是"]
[165,"白云","2017-05-24","广州市长兴体育有限公司","广州市白云区松洲街增槎路高桥大街锦翠苑小区","小区配套游泳场所","PH、细菌总数、大肠菌群、尿素、浑浊度、泳池水余氯、浸脚池水余氯","是"]
[166,"白云","2017-05-24","广州市万科物业服务有限公司金域蓝湾物业服务中心","广州市白云区金沙街金域蓝湾悦水二巷7、9、11号","小区配套游泳场所","PH、细菌总数、大肠菌群、尿素、浑浊度、泳池水余氯、浸脚池水余氯","是"]
[167,"白云","2017-05-24","广州市万科物业服务有限公司万科四季公寓物业服务中心","广州市白云区悦峰三街258号","小区配套游泳场所","PH、细菌总数、大肠菌群、尿素、浑浊度、泳池水余氯、浸脚池水余氯","是"]
[168,"白云","2017-05-24","保利物业发展股份有限公司（西子湾小区）","广州市白云区金沙洲彩滨南路保利西子湾小区","小区配套游泳场所","PH、细菌总数、大肠菌群、尿素、浑浊度、泳池水余氯、浸脚池水余氯","是"]
[169,"白云","2017-05-25","广州金锁匙酒店物业管理有限公司","广州市白云区同和路828号（山水庭苑）碧水街8号二楼","酒店配套游泳场所","PH、细菌总数、大肠菌群、尿素、浑浊度、泳池水余氯、浸脚池水余氯","是"]
[170,"白云","2017-05-25","广东南湖旅游中心白云湖畔酒店","广州市白云区南湖中路1号","酒店配套游泳场所","PH、细菌总数、大肠菌群、尿素、浑浊度、泳池水余氯、浸脚池水余氯","是"]
[171,"白云","2017-05-25","广州市白云区同和新兴游泳场","广州市白云大道白云花园内","小区配套游泳场所","PH、细菌总数、大肠菌群、尿素、浑浊度、泳池水余氯、浸脚池水余氯","是"]
[172,"白云","2017-05-25","广州市万科物业服务有限公司万科云山花园物业服务中心","广州市白云区白云大道北万科云山花园阅山二街1号、3号负一层38房","小区配套游泳场所","PH、细菌总数、大肠菌群、尿素、浑浊度、泳池水余氯、浸脚池水余氯","是"]
[173,"白云","2017-05-25","保利物业管理有限公司（紫薇花园）","广州市白云区新市街汇侨中路紫薇花园","小区配套游泳场所","PH、细菌总数、大肠菌群、尿素、浑浊度、泳池水余氯、浸脚池水余氯","是"]
[174,"白云","2017-05-25","广州侨鑫物业有限公司汇侨分公司","广州机场路汇侨新城东一区二楼平台","小区配套游泳场所","PH、细菌总数、大肠菌群、尿素、浑浊度、泳池水余氯、浸脚池水余氯","是"]
[175,"白云","2017-05-25","广州市纵横白领物业管理有限公司缤城花园分公司","广州市白云区新市棠乐路佳园街缤城花园管理处","小区配套游泳场所","PH、细菌总数、大肠菌群、尿素、浑浊度、泳池水余氯、浸脚池水余氯","是"]
[176,"白云","2017-05-26","广州市云凯酒店管理有限公司","广州市白云区同和路187号","酒店配套游泳场所","PH、细菌总数、大肠菌群、尿素、浑浊度、泳池水余氯、浸脚池水余氯","是"]
[177,"白云","2017-05-26","广州市力美健圣地会所有限公司","广州市白云区广州大道北圣地大厦第十、十一层","游泳场馆","PH、细菌总数、大肠菌群、尿素、浑浊度、泳池水余氯、浸脚池水余氯","是"]
[178,"白云","2017-05-26","广州市时代物业管理有限公司（时代花园）","广州市白云区三元里大道水边街233、235首层","小区配套游泳场所","PH、细菌总数、大肠菌群、尿素、浑浊度、泳池水余氯、浸脚池水余氯","是"]
[179,"白云","2017-05-26","广州市时代物业管理有限公司（翠逸家园）","广州市白云区机场西路景丽街5号","小区配套游泳场所","PH、细菌总数、大肠菌群、尿素、浑浊度、泳池水余氯、浸脚池水余氯","是"]
[180,"白云","2017-05-27","广州锦日物业服务有限公司（金湖花园）","广州市白云区沙太北路938号","小区配套游泳场所","PH、细菌总数、大肠菌群、尿素、浑浊度、泳池水余氯、浸脚池水余氯","是"]
[181,"白云","2017-05-27","广州市万科物业服务有限公司万科蓝山花园物业服务中心","广州市白云区太和镇大源黄庄南32号","小区配套游泳场所","PH、细菌总数、大肠菌群、尿素、浑浊度、泳池水余氯、浸脚池水余氯","是"]
[182,"白云","2017-05-31","广州锦日物业服务有限公司（岭南新世界会所）","广州市白云大道北1689号岭南新世界","小区配套游泳场所","PH、细菌总数、大肠菌群、尿素、浑浊度、泳池水余氯、浸脚池水余氯","是"]
[183,"白云","2017-05-31","广州锦日物业服务有限公司（水央游泳池）","广州白云大道北1689号集善街79号","小区配套游泳场所","PH、细菌总数、大肠菌群、尿素、浑浊度、泳池水余氯、浸脚池水余氯","是"]
[184,"白云","2017-05-31","广州锦日物业服务有限公司岭南分公司（凯云新世界）","广州市白云大道北1689号岭云路15号凯云新世界","小区配套游泳场所","PH、细菌总数、大肠菌群、尿素、浑浊度、泳池水余氯、浸脚池水余氯","是"]
[185,"白云","2017-05-31","广州市涛源物业管理有限公司","广州市白云区江高镇河心街1号","游泳场馆","PH、细菌总数、大肠菌群、尿素、浑浊度、泳池水余氯、浸脚池水余氯","是"]
[186,"白云","2017-05-31","广州市奥龙堡体育发展有限公司白云分公司","广州市白云区石井街庆丰广场路6号之一","游泳场馆","PH、细菌总数、大肠菌群、尿素、浑浊度、泳池水余氯、浸脚池水余氯","是"]
[187,"白云","2017-06-01","广州市宏新物业管理有限公司白云分公司","广州市白云区广州大道北怡新路怡新花园","小区配套游泳场所","PH、细菌总数、大肠菌群、尿素、浑浊度、泳池水余氯、浸脚池水余氯","是"]
[188,"白云","2017-06-01","广州天寓物业服务有限公司","广州市白云区沙太路广州白天鹅花园内","小区配套游泳场所","PH、细菌总数、大肠菌群、尿素、浑浊度、泳池水余氯、浸脚池水余氯","是"]
[189,"白云","2017-06-01","广州维维中介物业管理有限公司（金湖雅苑小区露天游泳场）","广州市白云区沙太北路320号","小区配套游泳场所","PH、细菌总数、大肠菌群、尿素、浑浊度、泳池水余氯、浸脚池水余氯","是"]
[190,"白云","2017-06-01","广州市金碧恒盈物业服务有限公司（金碧雅苑）","广州市白云区新广从公路彭西水塘底地段","小区配套游泳场所","PH、细菌总数、大肠菌群、尿素、浑浊度、泳池水余氯、浸脚池水余氯","是"]
[191,"白云","2017-06-01","广州市时代物业管理有限公司（时代玫瑰园）","广州市白云区黄边北路向荣街338号","小区配套游泳场所","PH、细菌总数、大肠菌群、尿素、浑浊度、泳池水余氯、浸脚池水余氯","是"]
[192,"白云","2017-06-01","保利物业管理有限公司白云山庄管理处","广州市白云区白云大道北丛云路68号保利白云山庄彩云居17号地下","小区配套游泳场所","PH、细菌总数、大肠菌群、尿素、浑浊度、泳池水余氯、浸脚池水余氯","是"]
[193,"白云","2017-06-01","广州逸林假日酒店有限公司","广州市白云区黄石东路广东外语外贸大学北校区国际学术交流中心","酒店配套游泳场所","PH、细菌总数、大肠菌群、尿素、浑浊度、泳池水余氯、浸脚池水余氯","是"]
[194,"白云","2017-06-02","广州城建开发物业有限公司广源文化商业广场经营服务中心","广州市白云区广源中路景泰直街33号","游泳场馆","PH、细菌总数、大肠菌群、尿素、浑浊度、泳池水余氯、浸脚池水余氯","是"]
[195,"白云","2017-06-05","广州百润物业有限公司（云景苑）","广州市白云区沙河同和云景路云景花园云景苑","小区配套游泳场所","PH、细菌总数、大肠菌群、尿素、浑浊度、泳池水余氯、浸脚池水余氯","是"]
[196,"白云","2017-06-05","广州百润物业有限公司","广州市白云区沙河同和云景路云景花园","小区配套游泳场所","PH、细菌总数、大肠菌群、尿素、浑浊度、泳池水余氯、浸脚池水余氯","是"]
[197,"白云","2017-06-05","广州市时代物业管理有限公司（时代天朗花园）","广州市白云区同和东坑蟾蜍石北路地段","小区配套游泳场所","PH、细菌总数、大肠菌群、尿素、浑浊度、泳池水余氯、浸脚池水余氯","是"]
[198,"白云","2017-06-05","广东元邦物业管理有限公司","广州市白云区黄石西路601号航空家园小区","小区配套游泳场所","PH、细菌总数、大肠菌群、尿素、浑浊度、泳池水余氯、浸脚池水余氯","是"]
[199,"白云","2017-06-05","广州市金桂园物业管理有限公司","广州市白云区解放北路1000号金桂园内（注册地址）","小区配套游泳场所","PH、细菌总数、大肠菌群、尿素、浑浊度、泳池水余氯、浸脚池水余氯","是"]
[200,"白云","2017-06-06","广州方圆现代生活服务股份有限公司","广州市白云区黄边北路云山诗意会所","小区配套游泳场所","PH、细菌总数、大肠菌群、尿素、浑浊度、泳池水余氯、浸脚池水余氯","是"]
[201,"白云","2017-06-06","广州微耀商务服务有限公司","广州市白云区黄边北路云山诗意二期会所","小区配套游泳场所","PH、细菌总数、大肠菌群、尿素、浑浊度、泳池水余氯、浸脚池水余氯","是"]
[202,"白云","2017-06-06","广州雅居乐物业管理服务有限公司（南湖半山豪廷小区）","广州市白云区同和路1168号雅居乐南湖半山豪廷小区","小区配套游泳场所","PH、细菌总数、大肠菌群、尿素、浑浊度、泳池水余氯、浸脚池水余氯","是"]
[203,"白云","2017-06-06","广州雅居乐物业管理服务有限公司","广州市白云区同和路998号雅居乐南湖半岛花园小区内凯旋路1号1楼","小区配套游泳场所","PH、细菌总数、大肠菌群、尿素、浑浊度、泳池水余氯、浸脚池水余氯","是"]
[204,"白云","2017-06-06","广州市荣鑫物业管理有限公司","广州市白云区嘉禾白云堡大道一号白云堡豪苑","小区配套游泳场所","PH、细菌总数、大肠菌群、尿素、浑浊度、泳池水余氯、浸脚池水余氯","是"]
[205,"花都","2017-05-10","广州市第二疗养院（游泳池）","广州市花都区梯面镇","酒店配套游泳场所","PH、细菌总数、大肠菌群、尿素、浑浊度、泳池水余氯、浸脚池水余氯","是"]
[206,"花都","2017-05-16","广州华钜君悦酒店有限公司（游泳池）","广州市花都区新华街迎宾大道","酒店配套游泳场所","PH、细菌总数、大肠菌群、尿素、浑浊度、泳池水余氯、浸脚池水余氯","是"]
[207,"花都","2017-06-06","广州市云峰酒店有限公司","广州市花都区新华街镜湖大道2号","酒店配套游泳场所","PH、细菌总数、大肠菌群、尿素、浑浊度、泳池水余氯、浸脚池水余氯","是"]
[208,"花都","2017-06-07","广州市金御公共浴室有限公司（游泳池）","广州市花都区新华街公益路47号金宏利大厦西塔4-6楼","酒店配套游泳场所","PH、细菌总数、大肠菌群、尿素、浑浊度、泳池水余氯、浸脚池水余氯","是"]
[209,"花都","2017-06-08","广州安华物流有限公司酒店管理分公司（游泳池）","广州市花都区花东镇花都大道南花安中路3号之三十二","酒店配套游泳场所","PH、细菌总数、大肠菌群、尿素、浑浊度、泳池水余氯、浸脚池水余氯","是"]
[210,"花都","2017-04-27","广州市花都雅居乐物业管理服务有限公司（雍华庭二期游泳池）","广州市花都区凤凰北路22号","小区配套游泳场所","PH、细菌总数、大肠菌群、尿素、浑浊度、泳池水余氯、浸脚池水余氯","是"]
[211,"花都","2017-05-08","广州市至尚健身服务有限公司（马鞍山1号游泳池）","广州市花都区新华街凤凰北路23号","小区配套游泳场所","PH、细菌总数、大肠菌群、尿素、浑浊度、泳池水余氯、浸脚池水余氯","是"]
[212,"花都","2017-05-11","广州市花都雅居乐物业管理服务有限公司（雍逸豪廷游泳池）","广州市花都区天贵路108号","小区配套游泳场所","PH、细菌总数、大肠菌群、尿素、浑浊度、泳池水余氯、浸脚池水余氯","是"]
[213,"花都","2017-05-11","广州市花都雅居乐物业管理服务有限公司（御宾府游泳池）","广州市花都区百合路35号","小区配套游泳场所","PH、细菌总数、大肠菌群、尿素、浑浊度、泳池水余氯、浸脚池水余氯","是"]
[214,"花都","2017-05-15","广州市美林基业物业管理有限公司花都分公司","广州市花都区新华街新都大道103号2区F1","小区配套游泳场所","PH、细菌总数、大肠菌群、尿素、浑浊度、泳池水余氯、浸脚池水余氯","是"]
[215,"花都","2017-05-18","广州市宏峰物业管理服务有限公司（游泳池）","广州市花都区新华街镜湖大道2号","小区配套游泳场所","PH、细菌总数、大肠菌群、尿素、浑浊度、泳池水余氯、浸脚池水余氯","是"]
[216,"花都","2017-05-23","广州景尊体育发展有限公司（金碧御水山庄游泳池）","广州市花都区狮岭镇山前大道金碧御水山庄小区御湖路36号","小区配套游泳场所","PH、细菌总数、大肠菌群、尿素、浑浊度、泳池水余氯、浸脚池水余氯","是"]
[217,"花都","2017-05-26","广州骏威物业管理有限公司","广州市花都区新华街桂花路61号","小区配套游泳场所","PH、细菌总数、大肠菌群、尿素、浑浊度、泳池水余氯、浸脚池水余氯","是"]
[218,"花都","2017-05-31","雅居乐物业管理服务有限公司花都分公司（雅居乐花间集游泳池）","广州市花都区新华街永发路5号","小区配套游泳场所","PH、细菌总数、大肠菌群、尿素、浑浊度、泳池水余氯、浸脚池水余氯","是"]
[219,"花都","2017-05-31","深圳市半岛物业管理有限公司广州分公司（深航花园）","广州市花都区新华街迎宾大道101号","小区配套游泳场所","PH、细菌总数、大肠菌群、尿素、浑浊度、泳池水余氯、浸脚池水余氯","是"]
[220,"花都","2017-06-01","大运家园物业服务中心","广州市花都区新华街迎宾大道105号","小区配套游泳场所","PH、细菌总数、大肠菌群、尿素、浑浊度、泳池水余氯、浸脚池水余氯","是"]
[221,"花都","2017-06-01","广州英辉体育发展有限公司（锦尚名苑游泳池）","广州市花都区新华街兰花路3号","小区配套游泳场所","PH、细菌总数、大肠菌群、尿素、浑浊度、泳池水余氯、浸脚池水余氯","是"]
[222,"花都","2017-06-01","广州景尊体育发展有限公司（狮城国际小区游泳池）","狮岭镇狮岭大道东8号","小区配套游泳场所","PH、细菌总数、大肠菌群、尿素、浑浊度、泳池水余氯、浸脚池水余氯","是"]
[223,"花都","2017-06-01","广州市凯庭物业管理有限公司（凯旋国际）","广州市花都区新华街三东村三东大道106号","小区配套游泳场所","PH、细菌总数、大肠菌群、尿素、浑浊度、泳池水余氯、浸脚池水余氯","是"]
[224,"花都","2017-06-06","广州碧泽游泳池经营管理有限公司（风神公社游泳池）","广州市花都区秀全街风神大道18号","小区配套游泳场所","PH、细菌总数、大肠菌群、尿素、浑浊度、泳池水余氯、浸脚池水余氯","是"]
[225,"花都","2017-06-07","广州市航都物业管理有限公司（航都花园游泳场）","广州市花都区新华街天贵路航都花园B座三楼","小区配套游泳场所","PH、细菌总数、大肠菌群、尿素、浑浊度、泳池水余氯、浸脚池水余氯","是"]
[226,"花都","2017-06-07","广州森宇体育发展有限公司（凯特花园）","广州市花都区新雅街夏花六路六号","小区配套游泳场所","PH、细菌总数、大肠菌群、尿素、浑浊度、泳池水余氯、浸脚池水余氯","是"]
[227,"花都","2017-05-23","华南理工大学广州学院（游泳池）","广州市花都区学府路1号","学校游泳场所","PH、细菌总数、大肠菌群、尿素、浑浊度、泳池水余氯、浸脚池水余氯","是"]
[228,"花都","2017-04-27","广州市花都区新华长盛游泳场","广州市花都区新华街莲塘村二村经济社光明花园东土地","游泳场馆","PH、细菌总数、大肠菌群、尿素、浑浊度、泳池水余氯、浸脚池水余氯","是"]
[229,"花都","2017-05-18","广州市花都区英翔教育信息咨询服务中心游泳池","广州市花都区新华街公园前路37号","游泳场馆","PH、细菌总数、大肠菌群、尿素、浑浊度、泳池水余氯、浸脚池水余氯","是"]
[230,"花都","2017-05-18","广州市汇基健身有限公司","广州市花都区新华街体育路18号花都区体育场馆管理中心游泳馆","游泳场馆","PH、细菌总数、大肠菌群、尿素、浑浊度、泳池水余氯、浸脚池水余氯","是"]
[231,"番禺","2017-05-08","广州长隆集团有限公司公司长隆酒店分公司","广州市番禺区大石街植村、河村、礼村、钟村街汉溪村","酒店配套游泳场所","PH、细菌总数、大肠菌群、尿素、浑浊度、泳池水余氯、浸脚池水余氯","是"]
[232,"番禺","2017-05-08","广州市秉信物业管理有限公司（珑翠花园泳池）","广州市番禺区钟村街谢村村105国道以东珑翠花园内","小区配套游泳场所","PH、细菌总数、大肠菌群、尿素、浑浊度、泳池水余氯、浸脚池水余氯","是"]
[233,"番禺","2017-05-10","广州广海游泳馆有限公司","广州市番禺区市桥街德胜路248号","小区配套游泳场所","PH、细菌总数、大肠菌群、尿素、浑浊度、泳池水余氯、浸脚池水余氯","是"]
[234,"番禺","2017-05-10","广州市科尔海悦酒店有限公司泳池","广州市番禺区市桥街清河东路288号","酒店配套游泳场所","PH、细菌总数、大肠菌群、尿素、浑浊度、泳池水余氯、浸脚池水余氯","是"]
[235,"番禺","2017-05-10","广州市番禺区行政管理办公室","广州市番禺区市桥街清河东路319号区行政办公中心","游泳场馆","PH、细菌总数、大肠菌群、尿素、浑浊度、泳池水余氯、浸脚池水余氯","是"]
[236,"番禺","2017-05-15","广州市海怡星河湾酒店有限公司(泳池)","广州市番禺区南村镇新基村沙滘岛东端海怡花园会所","酒店配套游泳场所","PH、细菌总数、大肠菌群、尿素、浑浊度、泳池水余氯、浸脚池水余氯","是"]
[237,"番禺","2017-05-15","广州番禺海怡房地产开发有限公司（海怡花园会所）","广州市番禺区南村镇沙滘岛东端","小区配套游泳场所","PH、细菌总数、大肠菌群、尿素、浑浊度、泳池水余氯、浸脚池水余氯","是"]
[238,"番禺","2017-05-15","广州市番禺疗养院","广州市番禺区沙头街禺山西路688号","酒店配套游泳场所","PH、细菌总数、大肠菌群、尿素、浑浊度、泳池水余氯、浸脚池水余氯","是"]
[239,"番禺","2017-05-15","广州市海伦堡创意园商业管理有限公司","广州市番禺区沙头街禺山西路329号3座首层","游泳场馆","PH、细菌总数、大肠菌群、尿素、浑浊度、泳池水余氯、浸脚池水余氯","是"]
[240,"番禺","2017-05-15","广州市番禺中国旅行社","广州市番禺区市桥街大北路130号","酒店配套游泳场所","PH、细菌总数、大肠菌群、尿素、浑浊度、泳池水余氯、浸脚池水余氯","是"]
[241,"番禺","2017-05-15","广州市鸿斯会康体有限公司","广州市番禺区市桥街盛泰路608号","小区配套游泳场所","PH、细菌总数、大肠菌群、尿素、浑浊度、泳池水余氯、浸脚池水余氯","是"]
[242,"番禺","2017-05-17","广州市朗廷酒店有限公司","广州市番禺区桥南街南华路176号101-201","小区配套游泳场所","PH、细菌总数、大肠菌群、尿素、浑浊度、泳池水余氯、浸脚池水余氯","是"]
[243,"番禺","2017-05-17","广州市番禺莱茵花园有限公司（洛城俱乐部泳池）","广州市番禺区洛浦街洛溪","酒店配套游泳场所","PH、细菌总数、大肠菌群、尿素、浑浊度、泳池水余氯、浸脚池水余氯","是"]
[244,"番禺","2017-05-17","广州市番禺俊邦物业管理有限公司(南浦海滨花园会所泳池)","广州市番禺区洛浦街东乡村黄洛围南浦海滨花园会所内","小区配套游泳场所","PH、细菌总数、大肠菌群、尿素、浑浊度、泳池水余氯、浸脚池水余氯","是"]
[245,"番禺","2017-05-17","广州市万科物业服务有限公司万科金色城品苑分公司","广州市番禺区市桥南德贤路818号","小区配套游泳场所","PH、细菌总数、大肠菌群、尿素、浑浊度、泳池水余氯、浸脚池水余氯","是"]
[246,"番禺","2017-05-17","广州市番禺祈福新邨渡假俱乐部有限公司半山会所","广州市番禺区钟村街","小区配套游泳场所","PH、细菌总数、大肠菌群、尿素、浑浊度、泳池水余氯、浸脚池水余氯","是"]
[247,"番禺","2017-05-17","广州市番禺祈福新邨渡假俱乐部有限公司(文化俱乐部)","广州市番禺区钟村街","小区配套游泳场所","PH、细菌总数、大肠菌群、尿素、浑浊度、泳池水余氯、浸脚池水余氯","是"]
[248,"番禺","2017-05-17","广州市番禺祈福新邨渡假俱乐部有限公司","广州市番禺区钟村街","小区配套游泳场所","PH、细菌总数、大肠菌群、尿素、浑浊度、泳池水余氯、浸脚池水余氯","是"]
[249,"番禺","2017-05-17","广州市番禺区桥南倡丽游泳池","广州市番禺区桥南街中华大道893号昊龙花园北区","小区配套游泳场所","PH、细菌总数、大肠菌群、尿素、浑浊度、泳池水余氯、浸脚池水余氯","是"]
[250,"番禺","2017-05-18","广州倡选贸易有限公司(怡景花园游泳池)","广州市番禺区大石街怡景花园游泳池","小区配套游泳场所","PH、细菌总数、大肠菌群、尿素、浑浊度、泳池水余氯、浸脚池水余氯","是"]
[251,"番禺","2017-05-18","广州卡城科技有限公司番禺分公司（丽江花园泳池）","番禺区洛浦街南浦岛丽江花园醉心湖会所","小区配套游泳场所","PH、细菌总数、大肠菌群、尿素、浑浊度、泳池水余氯、浸脚池水余氯","是"]
[252,"番禺","2017-05-18","广东天天好健康产业发展有限公司","广州市番禺区洛浦街沙滘岛沙溪村绿茵岛花园会所","小区配套游泳场所","PH、细菌总数、大肠菌群、尿素、浑浊度、泳池水余氯、浸脚池水余氯","是"]
[253,"番禺","2017-05-18","广州雍丰文化发展有限公司番禺区华南新城游泳池","广州市番禺区兴南路168号华南新城区游泳池","小区配套游泳场所","PH、细菌总数、大肠菌群、尿素、浑浊度、泳池水余氯、浸脚池水余氯","是"]
[254,"番禺","2017-05-18","广州市番禺区南村美康健体育馆","广州市番禺区南村镇里仁洞村华南碧桂园会所","小区配套游泳场所","PH、细菌总数、大肠菌群、尿素、浑浊度、泳池水余氯、浸脚池水余氯","是"]
[255,"番禺","2017-05-18","广州市新广地商务酒店有限公司（会所游泳池）","广州市番禺区南村镇广地花园会所","小区配套游泳场所","PH、细菌总数、大肠菌群、尿素、浑浊度、泳池水余氯、浸脚池水余氯","是"]
[256,"番禺","2017-05-18","广州市星河湾酒店有限公司","广州市番禺区番禺大道北1号","酒店配套游泳场所","PH、细菌总数、大肠菌群、尿素、浑浊度、泳池水余氯、浸脚池水余氯","是"]
[257,"番禺","2017-05-18","广州银矿湾酒店管理咨询有限公司","广州市番禺区东环街榄塘路139号","酒店配套游泳场所","PH、细菌总数、大肠菌群、尿素、浑浊度、泳池水余氯、浸脚池水余氯","是"]
[258,"番禺","2017-05-18","广州市博沃美健身服务有限公司富华分公司","广州市番禺区市桥街富华西路15-19号（单数）整套201","游泳场馆","PH、细菌总数、大肠菌群、尿素、浑浊度、泳池水余氯、浸脚池水余氯","是"]
[259,"番禺","2017-05-18","广州市番禺区市桥桥元体育运动馆","广州市番禺区市桥街康乐路116号（泳池）体育馆一楼","游泳场馆","PH、细菌总数、大肠菌群、尿素、浑浊度、泳池水余氯、浸脚池水余氯","是"]
[260,"番禺","2017-05-22","广州市有诚物业管理有限公司（一品灏景游泳池）","广州市番禺区市桥街平康路隆基大街8号一品灏景内","小区配套游泳场所","PH、细菌总数、大肠菌群、尿素、浑浊度、泳池水余氯、浸脚池水余氯","是"]
[261,"番禺","2017-05-22","广州市翠拥华庭康体服务有限公司（泳池）","广州市番禺区大龙街城区大道310号信业花园A区会所","小区配套游泳场所","PH、细菌总数、大肠菌群、尿素、浑浊度、泳池水余氯、浸脚池水余氯","是"]
[262,"番禺","2017-05-22","广州市翠拥华庭康体服务有限公司","广州市番禺区石楼镇南环路132号尚上名筑A区","小区配套游泳场所","PH、细菌总数、大肠菌群、尿素、浑浊度、泳池水余氯、浸脚池水余氯","是"]
[263,"番禺","2017-05-22","广州澳游体育策划有限公司（柏丽星寓游泳池）","广州市番禺区石楼镇黄山路68号","小区配套游泳场所","PH、细菌总数、大肠菌群、尿素、浑浊度、泳池水余氯、浸脚池水余氯","是"]
[264,"番禺","2017-05-25","广州市杰仕康体育场馆管理有限公司","广州市番禺区桥南街桥南路228号502","游泳场馆","PH、细菌总数、大肠菌群、尿素、浑浊度、泳池水余氯、浸脚池水余氯","是"]
[265,"番禺","2017-05-25","广州灏轩体育经纪服务有限公司","广州市番禺区钟村街诜敦村南国奥林匹克花园悉尼区","小区配套游泳场所","PH、细菌总数、大肠菌群、尿素、浑浊度、泳池水余氯、浸脚池水余氯","是"]
[266,"番禺","2017-05-25","广州灏轩体育经纪服务有限公司","广州市番禺区钟村街诜敦村南国奥林匹克花园雅典区","小区配套游泳场所","PH、细菌总数、大肠菌群、尿素、浑浊度、泳池水余氯、浸脚池水余氯","是"]
[267,"番禺","2017-06-07","广州市泳乐体育发展有限公司（绿庭雅苑游泳池）","广州市番禺区桥南街汇景大道绿庭雅苑内","小区配套游泳场所","PH、细菌总数、大肠菌群、尿素、浑浊度、泳池水余氯、浸脚池水余氯","是"]
[268,"番禺","2017-06-07","广州市泳乐体育发展有限公司（雍逸华庭游泳池）","广州市番禺区桥南街南华路2号雍逸华庭B区内","小区配套游泳场所","PH、细菌总数、大肠菌群、尿素、浑浊度、泳池水余氯、浸脚池水余氯","是"]
[269,"番禺","2017-06-07","广州都市华宇物业管理有限公司（星辰时代豪庭泳池）","广州市番禺区桥南街福景路729号星辰时代豪庭内","小区配套游泳场所","PH、细菌总数、大肠菌群、尿素、浑浊度、泳池水余氯、浸脚池水余氯","是"]
[270,"番禺","2017-06-08","广州市番禺区钟村水多体育组织服务部","广州市番禺区南村镇兴业大道1228号广州科技贸易职业学院内（和泰酒家旁边）","游泳场馆","PH、细菌总数、大肠菌群、尿素、浑浊度、泳池水余氯、浸脚池水余氯","是"]
[271,"番禺","2017-06-08","雅居乐物业管理有限公司番禺分公司","广州市番禺区南村镇兴业大道398号","小区配套游泳场所","PH、细菌总数、大肠菌群、尿素、浑浊度、泳池水余氯、浸脚池水余氯","是"]
[272,"番禺","2017-06-08","雅居乐物业管理有限公司番禺分公司","广州市番禺区南村镇草堂村雅居乐剑桥郡佰利山会所泳池","小区配套游泳场所","PH、细菌总数、大肠菌群、尿素、浑浊度、泳池水余氯、浸脚池水余氯","是"]
[273,"番禺","2017-06-08","广东女子职业技术学院","广州市番禺区石基镇市莲路南浦村端2号","游泳场馆","PH、细菌总数、大肠菌群、尿素、浑浊度、泳池水余氯、浸脚池水余氯","是"]
[274,"番禺","2017-06-08","广州市番禺莲花山粤海度假村","广州市番禺区莲花山旅游区","酒店配套游泳场所配套","PH、细菌总数、大肠菌群、尿素、浑浊度、泳池水余氯、浸脚池水余氯","是"]
[275,"番禺","2017-06-08","广州市都市华宇物业管理有限公司（东晟明珠花园会所游泳池）","广州市番禺区大龙街东兴路408号东晟明珠花园会所","小区配套游泳场所","PH、细菌总数、大肠菌群、尿素、浑浊度、泳池水余氯、浸脚池水余氯","是"]
[276,"番禺","2017-06-08","广州市金荷湾俱乐部有限公司","广州市番禺区沙湾镇中华大道金沙湾花园金泽苑三座","小区配套游泳场所","PH、细菌总数、大肠菌群、尿素、浑浊度、泳池水余氯、浸脚池水余氯","是"]
[277,"番禺","2017-06-08","广州城建开发物业有限公司可逸江畔花园服务中心游泳池","广州市番禺区桥南街逸祥大街2号","小区配套游泳场所","PH、细菌总数、大肠菌群、尿素、浑浊度、泳池水余氯、浸脚池水余氯","是"]
[278,"从化","2017-05-22","广州从化合景房地产开发有限公司","从化市江埔街香檀大街1号","小区配套游泳场所","PH、细菌总数、大肠菌群、尿素、浑浊度、泳池水余氯、浸脚池水余氯","是"]
[279,"从化","2017-05-22","广州立美体育有限公司","从化市江埔街江湾路79号","游泳场馆","PH、细菌总数、大肠菌群、尿素、浑浊度、泳池水余氯、浸脚池水余氯","是"]
[280,"从化","2017-05-22","广州从化凯旋宫饮食娱乐有限公司","广州从化区江埔街河东环市东路168号","酒店配套游泳场所","PH、细菌总数、大肠菌群、尿素、浑浊度、泳池水余氯、浸脚池水余氯","是"]
[281,"从化","2017-05-23","广州城建开发景城房地产有限公司从化逸泉大酒店分公司","广州从化区街口街逸泉山庄亲泉路1号","酒店配套游泳场所","PH、细菌总数、大肠菌群、尿素、浑浊度、泳池水余氯、浸脚池水余氯","是"]
[282,"从化","2017-05-23","从化区鑫城实业有限公司","从化区街口街逸泉山庄逸泉路1号","酒店配套游泳场所","PH、细菌总数、大肠菌群、尿素、浑浊度、泳池水余氯、浸脚池水余氯","是"]
[283,"从化","2017-05-23","广州紫泉物业管理有限公司","广州市从化太平镇广从北路282号之六","小区配套游泳场所","PH、细菌总数、大肠菌群、尿素、浑浊度、泳池水余氯、浸脚池水余氯","是"]
[284,"从化","2017-05-24","广州亿城泉说酒店有限公司","从化区温泉镇悦泉路亿城一街143号、145号负一层之二房","酒店配套游泳场所","PH、细菌总数、大肠菌群、尿素、浑浊度、泳池水余氯、浸脚池水余氯","是"]
[285,"从化","2017-05-24","广东温泉宾馆","从化区温泉镇温泉东路80号","酒店配套游泳场所","PH、细菌总数、大肠菌群、尿素、浑浊度、泳池水余氯、浸脚池水余氯","是"]
[286,"从化","2017-05-25","雅居乐物业管理服务有限公司从化分公司","从化区江埔街御景路6号","小区配套游泳场所","PH、细菌总数、大肠菌群、尿素、浑浊度、泳池水余氯、浸脚池水余氯","是"]
[287,"从化","2017-05-25","雅居乐物业管理服务有限公司从化分公司（莱茵水岸）","从化区江埔街从城大道33号","小区配套游泳场所","PH、细菌总数、大肠菌群、尿素、浑浊度、泳池水余氯、浸脚池水余氯","是"]
[288,"从化","2017-05-25","广州富竹山居酒店有限公司","从化市温泉镇温泉大道00898号","酒店配套游泳场所","PH、细菌总数、大肠菌群、尿素、浑浊度、泳池水余氯、浸脚池水余氯","是"]
[289,"从化","2017-05-25","广州市毅华景泉酒店有限公司","广州市从化温泉镇温泉东路93、95、97号","酒店配套游泳场所","PH、细菌总数、大肠菌群、尿素、浑浊度、泳池水余氯、浸脚池水余氯","是"]
[290,"从化","2017-05-25","广州翠岛水电度假村有限责任公司","广州市从化温泉镇温泉西路20号","酒店配套游泳场所","PH、细菌总数、大肠菌群、尿素、浑浊度、泳池水余氯、浸脚池水余氯","是"]
[291,"从化","2017-05-26","从都国际企业有限公司","广州市从化区从都大道1号","酒店配套游泳场所","PH、细菌总数、大肠菌群、尿素、浑浊度、泳池水余氯、浸脚池水余氯","是"]
[292,"从化","2017-05-26","广州市葳格斯动感温泉有限公司","广州市从化区良口镇蟠溪村养生谷","酒店配套游泳场所","PH、细菌总数、大肠菌群、尿素、浑浊度、泳池水余氯、浸脚池水余氯","是"]
[293,"从化","2017-05-26","广州卓思道酒店管理有限公司从化分公司","广州市从化区良口镇御泉大道288号1-3","酒店配套游泳场所","PH、细菌总数、大肠菌群、尿素、浑浊度、泳池水余氯、浸脚池水余氯","是"]
[294,"从化","2017-05-31","从化市河滨泳场","从化市街口街河滨北路45号","游泳场馆","PH、细菌总数、大肠菌群、尿素、浑浊度、泳池水余氯、浸脚池水余氯","是"]
[295,"从化","2017-05-31","广州市从化碧水湾温泉度假村有限公司","广州市从化区良口良明105国道边（新温泉旅游度假区）","酒店配套游泳场所","PH、细菌总数、大肠菌群、尿素、浑浊度、泳池水余氯、浸脚池水余氯","是"]
[296,"从化","2017-05-31","广州经济技术开发区（从化）华辉度假村","从化市温泉镇温泉大道云星路39号","酒店配套游泳场所","PH、细菌总数、大肠菌群、尿素、浑浊度、泳池水余氯、浸脚池水余氯","是"]
[297,"从化","2017-06-01","广州市从化太平正海泳场","广州市从化太平镇三百洞大道8号","游泳场馆","PH、细菌总数、大肠菌群、尿素、浑浊度、泳池水余氯、浸脚池水余氯","是"]
[298,"从化","2017-06-01","广州斯博瑞酒店有限公司从化分公司","广州市从化良口镇御泉大道352号自编A区","酒店配套游泳场所","PH、细菌总数、大肠菌群、尿素、浑浊度、泳池水余氯、浸脚池水余氯","是"]
[299,"从化","2017-06-05","广州市文轩苑会议服务中心","从化区良口镇御泉大道351号","酒店配套游泳场所","PH、细菌总数、大肠菌群、尿素、浑浊度、泳池水余氯、浸脚池水余氯","是"]
[300,"从化","2017-06-05","广州望谷温泉度假村有限公司","广州市从化温泉镇温泉西路9号","酒店配套游泳场所","PH、细菌总数、大肠菌群、尿素、浑浊度、泳池水余氯、浸脚池水余氯","是"]
[301,"南沙","2017-05-22","广州南沙珠江三角洲世贸中心大厦有限公司","广东省广州市南沙区南沙街港前大道南156号","酒店配套游泳场所","PH、细菌总数、大肠菌群、尿素、浑浊度、泳池水余氯、浸脚池水余氯","是"]
[302,"南沙","2017-05-22","广州南沙大酒店有限公司","广东省广州市南沙区开发区港前大道蒲州山以北滩涂上","酒店配套游泳场所","PH、细菌总数、大肠菌群、尿素、浑浊度、泳池水余氯、浸脚池水余氯","是"]
[303,"南沙","2017-05-22","广州南沙资讯科技园有限公司","广东省广州市南沙区南沙街环市大道南2号","酒店配套游泳场所","PH、细菌总数、大肠菌群、尿素、浑浊度、泳池水余氯、浸脚池水余氯","是"]
[304,"南沙","2017-05-22","广州南沙奥园养生酒店有限公司","广州市南沙区南沙街珠江东路267、269号","酒店配套游泳场所","PH、细菌总数、大肠菌群、尿素、浑浊度、泳池水余氯、浸脚池水余氯","是"]
[305,"南沙","2017-05-23","广州市南沙区大岗明盛游泳馆","广州市南沙区大岗镇豪龙路263号","小区配套游泳场所","PH、细菌总数、大肠菌群、尿素、浑浊度、泳池水余氯、浸脚池水余氯","是"]
[306,"南沙","2017-05-23","广州市南沙区大岗浩壮游泳馆","广州市南沙区大岗镇东流村东升路228号绿庭雅苑小区内","小区配套游泳场所","PH、细菌总数、大肠菌群、尿素、浑浊度、泳池水余氯、浸脚池水余氯","是"]
[307,"南沙","2017-05-23","广州温盛体育发展有限责任公司","广州市南沙区大岗镇翡翠蓝湾综合楼后面","小区配套游泳场所","PH、细菌总数、大肠菌群、尿素、浑浊度、泳池水余氯、浸脚池水余氯","是"]
[308,"南沙","2017-05-25","广东龙光集团物业管理有限公司南沙分公司","广州市南沙区黄阁镇凤凰大道龙光棕榈水岸内","小区配套游泳场所","PH、细菌总数、大肠菌群、尿素、浑浊度、泳池水余氯、浸脚池水余氯","是"]
[309,"南沙","2017-05-31","广州海的城酒店有限公司","广州市南沙区南沙街环市大道西427号","酒店配套游泳场所","PH、细菌总数、大肠菌群、尿素、浑浊度、泳池水余氯、浸脚池水余氯","是"]
[310,"南沙","2017-05-31","广东碧桂园物业服务有限公司南沙分公司","广州市南沙区南沙街进港大道旁南沙碧桂园旁","小区配套游泳场所","PH、细菌总数、大肠菌群、尿素、浑浊度、泳池水余氯、浸脚池水余氯","是"]
[311,"南沙","2017-05-31","广州海力花园酒店有限公司","广州市南沙区南沙街进港大道557号","酒店配套游泳场所","PH、细菌总数、大肠菌群、尿素、浑浊度、泳池水余氯、浸脚池水余氯","是"]
[312,"南沙","2017-05-31","广州市名宛物业管理有限公司","广州市南沙区东涌镇名苑别墅会所内西边","小区配套游泳场所","PH、细菌总数、大肠菌群、尿素、浑浊度、泳池水余氯、浸脚池水余氯","是"]
[313,"南沙","2017-06-06","广州城滨物业管理有限公司（滨海隽城）","广州市南沙区南沙街环市大道西481滨海隽城会所旁","小区配套游泳场所","PH、细菌总数、大肠菌群、尿素、浑浊度、泳池水余氯、浸脚池水余氯","是"]
[314,"黄埔","2017-06-07","广州彬森体育发展有限公司","广州市黄埔区丰乐北路128号（中鼎君和名城游泳场）","小区配套游泳场所","PH、细菌总数、大肠菌群、尿素、浑浊度、泳池水余氯、浸脚池水余氯","是"]
[315,"黄埔","2017-06-07","广州黄埔区航海学院游泳池","广州市黄埔区红山三路101号","学校游泳场所","PH、细菌总数、大肠菌群、尿素、浑浊度、泳池水余氯、浸脚池水余氯","是"]
[316,"黄埔","2017-06-07","广州市黄埔公园","广州市黄埔区黄埔东路68号","游泳场馆","PH、细菌总数、大肠菌群、尿素、浑浊度、泳池水余氯、浸脚池水余氯","是"]
[317,"黄埔","2017-06-07","广州市石化物业管理有限公司（石化游泳场）","广州市黄埔区石化路南街64栋首层","小区配套游泳场所","PH、细菌总数、大肠菌群、尿素、浑浊度、泳池水余氯、浸脚池水余氯","是"]
[318,"黄埔","2017-06-07","广州市悦涛雅苑物业管理有限公司","广州市黄埔区丰乐南路28号","小区配套游泳场所","PH、细菌总数、大肠菌群、尿素、浑浊度、泳池水余氯、浸脚池水余氯","是"]
[319,"黄埔","2017-06-07","广州新保物业管理有限公司（游泳场）","广州市黄埔区丰乐南路436号","小区配套游泳场所","PH、细菌总数、大肠菌群、尿素、浑浊度、泳池水余氯、浸脚池水余氯","是"]
[320,"黄埔","2017-06-07","广州市万科物业服务有限公司万科城市花园物业服务中心","广州市黄埔区大沙地东599号大院","小区配套游泳场所","PH、细菌总数、大肠菌群、尿素、浑浊度、泳池水余氯、浸脚池水余氯","是"]
[321,"黄埔","2017-05-16","广州市万科物业服务有限公司万科东荟城物业服务中心","广州市黄埔区东区街东荟一街31号首层","小区配套游泳场所","PH、细菌总数、大肠菌群、尿素、浑浊度、泳池水余氯、浸脚池水余氯","是"]
[322,"黄埔","2017-06-06","广州市健康体育文化发展有限公司","广州市黄埔区丰厦三街1号","游泳场馆","PH、细菌总数、大肠菌群、尿素、浑浊度、泳池水余氯、浸脚池水余氯","是"]
[323,"黄埔","2017-06-06","广东新港明珠大酒店有限公司","广州市黄埔区开发大道368号","酒店配套游泳场所","PH、细菌总数、大肠菌群、尿素、浑浊度、泳池水余氯、浸脚池水余氯","是"]
[324,"黄埔","2017-06-06","广州中信厚德物业管理有限公司雍翠雅园游泳池","广州市黄埔区蓝玉五街12-14号","小区配套游泳场所","PH、细菌总数、大肠菌群、尿素、浑浊度、泳池水余氯、浸脚池水余氯","是"]
[325,"黄埔","2017-06-07","广州知识城腾飞科技园开发有限公司","广州市黄埔区九龙大道知识城腾飞一街","小区配套游泳场所","PH、细菌总数、大肠菌群、尿素、浑浊度、泳池水余氯、浸脚池水余氯","是"]
[326,"黄埔","2017-06-07","广州市萝岗区镇龙中学","广州市黄埔区九龙镇镇龙迳头路外1号","学校泳池","PH、细菌总数、大肠菌群、尿素、浑浊度、泳池水余氯、浸脚池水余氯","是"]
[327,"黄埔","2017-06-07","御胡名邸C区3期商业楼游泳池","广州市黄埔区镇龙金坑村水库路38号","小区配套游泳场所","PH、细菌总数、大肠菌群、尿素、浑浊度、泳池水余氯、浸脚池水余氯","是"]
[328,"黄埔","2017-06-07","广州商学院游泳馆","广州市黄埔区九龙镇九龙大道中206号","学校泳池","PH、细菌总数、大肠菌群、尿素、浑浊度、泳池水余氯、浸脚池水余氯","是"]
[329,"黄埔","2017-06-08","广州市万科物业服务有限公司万科城新里程物业服务中心","广州市萝岗区开创大道依山三街6号首层","小区配套游泳场所","PH、细菌总数、大肠菌群、尿素、浑浊度、泳池水余氯、浸脚池水余氯","是"]
[330,"黄埔","2017-06-08","广州市万科物业服务有限公司万科城花园物业服务中心","广州市黄埔区开创大道东侧万科城花园尚林三街2号","小区配套游泳场所","PH、细菌总数、大肠菌群、尿素、浑浊度、泳池水余氯、浸脚池水余氯","是"]
[331,"增城","2017-05-17","广州金叶子酒店有限公司","广州市增城派潭镇高滩村","酒店配套游泳场所","PH、细菌总数、大肠菌群、尿素、浑浊度、泳池水余氯、浸脚池水余氯","是"]
[332,"增城","2017-05-17","广州大瀑布旅游开发有限公司","广州市增城派潭镇高滩村","酒店配套游泳场所","PH、细菌总数、大肠菌群、尿素、浑浊度、泳池水余氯、浸脚池水余氯","是"]
[333,"增城","2017-05-17","广州市增城高滩温泉酒店","广州市增城区派潭镇高滩村","酒店配套游泳场所","PH、细菌总数、大肠菌群、尿素、浑浊度、泳池水余氯、浸脚池水余氯","是"]
[334,"增城","2017-05-17","广州市三英温泉酒店投资有限公司","广州市增城派潭镇高滩村","酒店配套游泳场所","PH、细菌总数、大肠菌群、尿素、浑浊度、泳池水余氯、浸脚池水余氯","是"]
[335,"增城","2017-05-17","增城市碧桂园凤凰城酒店有限公司","增城市新塘镇广园东碧桂园凤凰城酒店","酒店配套游泳场所","PH、细菌总数、大肠菌群、尿素、浑浊度、泳池水余氯、浸脚池水余氯","是"]
[336,"增城","2017-05-18","保利增城房地产开发有限公司增城分公司（保利皇冠假日酒店）","广州市增城新塘镇甘涌村开发区铁塔路段","酒店配套游泳场所","PH、细菌总数、大肠菌群、尿素、浑浊度、泳池水余氯、浸脚池水余氯","是"]
[337,"增城","2017-05-18","广州国顺体育文化有限公司","广州市增城新塘镇金都路3号汇美体育馆","游泳场馆","PH、细菌总数、大肠菌群、尿素、浑浊度、泳池水余氯、浸脚池水余氯","是"]
[338,"增城","2017-05-17","广州市增城佳佳益庆游泳娱乐中心（碧桂园荔园小区游泳池）","广州市增城增江街碧桂园荔园","小区配套游泳场所","PH、细菌总数、大肠菌群、尿素、浑浊度、泳池水余氯、浸脚池水余氯","是"]
[339,"增城","2017-05-18","广州市顺捷物业管理有限公司（泊爵小区游泳池）","广州市增城荔城街百花路10之一","小区配套游泳场所","PH、细菌总数、大肠菌群、尿素、浑浊度、泳池水余氯、浸脚池水余氯","是"]
[340,"增城","2017-05-17","广州市增城美健俱乐部（荔城碧桂园小区游泳池）","增城市荔城街荔星大道荔城碧桂园","小区配套游泳场所","PH、细菌总数、大肠菌群、尿素、浑浊度、泳池水余氯、浸脚池水余氯","是"]
[341,"增城","2017-05-18","广州市炬浪体育有限公司","广州市增城区新塘镇广深公路白江村路段九母牌","游泳场馆","PH、细菌总数、大肠菌群、尿素、浑浊度、泳池水余氯、浸脚池水余氯","是"]
[342,"增城","2017-05-18","广州市恒大酒店有限公司","广州市增城中新镇恒大门水城景峰南街1号","酒店配套游泳场所","PH、细菌总数、大肠菌群、尿素、浑浊度、泳池水余氯、浸脚池水余氯","是"]
[343,"增城","2017-05-18","广州永丽健身有限公司","广州市增城荔城街观翠路21号3幢","游泳场馆","PH、细菌总数、大肠菌群、尿素、浑浊度、泳池水余氯、浸脚池水余氯","是"]
[344,"增城","2017-05-19","广州三赢体育发展有限公司","广州市增城新塘镇中街道委会沙园路1号","游泳场馆","PH、细菌总数、大肠菌群、尿素、浑浊度、泳池水余氯、浸脚池水余氯","是"]
[345,"增城","2017-05-18","保利物业管理有限公司广州东江首府物业服务中心（保利东江首府小区游泳池）","广州市增城新塘镇江府大道保利东江首府环府西路2号首层","小区配套游泳场所","PH、细菌总数、大肠菌群、尿素、浑浊度、泳池水余氯、浸脚池水余氯","是"]
[346,"增城","2017-06-01","广州市增城乐与健游泳中心（凤凰城天鹿山小区游泳池）","广州市增城永宁街凤凰城天鹿山游泳池","小区配套游泳场所","PH、细菌总数、大肠菌群、尿素、浑浊度、泳池水余氯、浸脚池水余氯","是"]
[347,"增城","2017-06-01","广州市增城永世禧源游泳娱乐中心（碧桂园豪园小区游泳池）","广州市增城石滩镇碧桂园豪园","小区配套游泳场所","PH、细菌总数、大肠菌群、尿素、浑浊度、泳池水余氯、浸脚池水余氯","是"]
[348,"增城","2017-06-02","广州市增城馨之美游泳中心（凤凰城凤馨苑小区游泳池）","广州市增城永宁街凤凰城凤馨苑社区综合楼游泳池","小区配套游泳场所","PH、细菌总数、大肠菌群、尿素、浑浊度、泳池水余氯、浸脚池水余氯","是"]
[349,"增城","2017-06-02","广州市唯安体育发展有限公司（碧桂园凤凰城凤晴苑小区游泳池）","广州市增城区永宁街碧桂园凤凰城凤晴苑五一座前30米处","小区配套游泳场所","PH、细菌总数、大肠菌群、尿素、浑浊度、泳池水余氯、浸脚池水余氯","是"]