{"text_format":"3","workbook":"xls","n_sheets":1,"sheets":["Sheet1"],"read":"whole","date_system":"1900","formulas":"cached_only"}

{"sheet":"Sheet1","index":0,"n_rows":15,"n_cols":9,"rows_kept":15,"merged":[[0,0,0,8]],"flags":["formulas_cached_only"]}
["2017年广州市游泳场所水质第一批次检测结果不合格单位一览表"]
["序号","区属","检测日期","被抽检单位名称","被抽检单位地址","游泳场所类型","检测项目","全部检测项目是否合格","不合格项目"]
[1,"越秀","2017-05-02","广东建工恒福物业有限公司","广州市越秀区东风西路148号","小区配套游泳场所","PH、细菌总数、大肠菌群、尿素、浑浊度、泳池水余氯、浸脚池水余氯","否","游离性余氯"]
[2,"越秀","2017-05-04","广州嘉邦酒店物业服务有限公司","广州市越秀区东风东路福今东11-14号地下一层","小区配套游泳场所","PH、细菌总数、大肠菌群、尿素、浑浊度、泳池水余氯、浸脚池水余氯","否","游离性余氯"]
[3,"海珠","2017-05-24","广州宝迪体育发展有限公司","广州市海珠区南华东路790-824号102铺、二层商铺","游泳场馆","PH、细菌总数、大肠菌群、尿素、浑浊度、泳池水余氯、浸脚池水余氯","否","游离性余氯；尿素；细菌总数"]
[4,"海珠","2017-05-24","广州优活体育发展有限公司","广州市海珠区南箕路26号","游泳场馆","PH、细菌总数、大肠菌群、尿素、浑浊度、泳池水余氯、浸脚池水余氯","否","尿素"]
[5,"海珠","2017-05-24","保利物业管理有限公司（保利花园二期游泳池）","广州市海珠区工业大道中400号听琴街7号后侧二期游泳池","小区配套游泳场所","PH、细菌总数、大肠菌群、尿素、浑浊度、泳池水余氯、浸脚池水余氯","否","游离性余氯"]
[6,"白云","2017-06-06","广州绿地商业资产管理有限公司白云绿地中心二分店","广州市白云区云城西路890号701房","游泳场馆","PH、细菌总数、大肠菌群、尿素、浑浊度、泳池水余氯、浸脚池水余氯","否","尿素"]
[7,"白云","2017-06-02","广东华翔物业发展有限公司","广州市白云区白云大道南777号","小区配套游泳场所","PH、细菌总数、大肠菌群、尿素、浑浊度、泳池水余氯、浸脚池水余氯","否","尿素"]
[8,"番禺","2017-05-25","广州市奥冠体育发展有限公司番禺分公司","广州市番禺区桥南街福德路900号新世纪花园会所","小区配套游泳场所","PH、细菌总数、大肠菌群、尿素、浑浊度、泳池水余氯、浸脚池水余氯","否","细菌总数"]
[9,"番禺","2017-06-08","广州市番禺区雅图物业管理有限公司（东逸华庭小区泳池）","广州市番禺区大龙街罗家村东盛路7号东逸华庭","小区配套游泳场所","PH、细菌总数、大肠菌群、尿素、浑浊度、泳池水余氯、浸脚池水余氯","否","尿素"]
[10,"黄埔","2017-06-09","广州易置实业有限公司（香雪山）","广州市萝岗区开创大道北香雪二路3号","小区配套游泳场所","PH、细菌总数、大肠菌群、尿素、浑浊度、泳池水余氯、浸脚池水余氯","否","细菌总数"]
[11,"增城","2017-05-17","广州市巴登巴登度假酒店有限公司","广州市增城市派潭镇大封门林场","酒店配套游泳场所","PH、细菌总数、大肠菌群、尿素、浑浊度、泳池水余氯、浸脚池水余氯","否","细菌总数"]
[12,"增城","2017-05-18","广州市增城百花山庄度假村有限公司","广州市增城百花林水库内","酒店配套游泳场所","PH、细菌总数、大肠菌群、尿素、浑浊度、泳池水余氯、浸脚池水余氯","否","pH值；细菌总数"]
[13,"增城","2017-06-01","广州鸿洋体育发展有限公司（海伦堡小区游泳池）","增城市新塘镇南埔村海伦堡大道2号","小区配套游泳场所","PH、细菌总数、大肠菌群、尿素、浑浊度、泳池水余氯、浸脚池水余氯","否","游离性余氯"]